## Simple
Average Report
Industry(ies) | KARNATAKA STATE POLLUTION CONTROL BOARD
Station(s) | City Railway station
Parameter(s) | (SO2), (NOX), (NO), (NO2), (CO), (PM10)
Avg Period | 15min Avg
Date | From: 01-May-2019 To: 31-May-2019
Diagnostic Flags: | U - Usable | D - Calibration Drift | F - Faulty | I - Invalidated | M - Maintenance | C - Calibration | N - Non-obtained | W - Warning | G - Out of Range | Z - Zero
| City Railway station | City Railway station | City Railway station | City Railway station | City Railway station | City Railway station
Date & Time | (SO2(ug/m3) | (NOX(ug/m3) | (NO(ug/m3) | (NO2(ug/m3) | (CO(mg/m3) | (PM10(ug/m3)
2019-05-03 00:15 | 4.1(U) | 28.95(U) | 8.14(U) | 20.81(U) | 1.22(U) | 217.55(U)
2019-05-03 00:30 | 5.29(U) | 22.57(U) | 6.41(U) | 16.16(U) | 1.28(U) | 217.55(U)
2019-05-03 00:45 | 5.52(U) | 21.28(U) | 5.54(U) | 15.74(U) | 1.26(U) | 196.34(U)
2019-05-03 01:00 | 4.72(U) | 25.98(U) | 7.53(U) | 18.45(U) | 1.24(U) | 184.06(U)
2019-05-03 01:15 | 2.33(U) | 21.33(U) | 5.96(U) | 15.37(U) | 1.24(U) | 184.06(U)
2019-05-03 01:30 | 4.29(U) | 17.18(U) | 4.89(U) | 12.29(U) | 1.22(U) | 184.06(U)
2019-05-03 01:45 | 4.07(U) | 14.59(U) | 4.41(U) | 10.18(U) | 1.16(U) | 176.94(U)
2019-05-03 02:00 | 3.34(U) | 14.83(U) | 4.61(U) | 10.22(U) | 1.12(U) | 176.05(U)
2019-05-03 02:15 | 5.11(U) | 19.43(U) | 6.64(U) | 12.8(U) | 1.17(U) | 176.05(U)
2019-05-03 02:30 | 6.06(U) | 17.69(U) | 5.61(U) | 12.07(U) | 1.12(U) | 176.05(U)
2019-05-03 02:45 | 4.52(U) | 14.17(U) | 4.33(U) | 9.84(U) | 1.07(U) | 151.3(U)
2019-05-03 03:00 | 3.74(U) | 13.04(U) | 4.14(U) | 8.9(U) | 1.05(U) | 148.21(U)
2019-05-03 03:15 | 3.9(U) | 14.72(U) | 5.41(U) | 9.31(U) | 1.28(U) | 148.21(U)
2019-05-03 03:30 | 4.98(U) | 16.91(U) | 5.74(U) | 11.17(U) | 1.32(U) | 148.21(U)
2019-05-03 03:45 | 4.14(U) | 20.37(U) | 6.93(U) | 13.44(U) | 1.27(U) | 118.28(U)
2019-05-03 04:00 | 4.02(U) | 18.01(U) | 5.95(U) | 12.06(U) | 1.23(U) | 114.54(U)
2019-05-03 04:15 | 1.51(U) | 16.71(U) | 5.65(U) | 11.06(U) | 1.21(U) | 114.54(U)
2019-05-03 04:30 | 5.64(U) | 13.83(U) | 4.65(U) | 9.18(U) | 1.21(U) | 114.54(U)
2019-05-03 04:45 | 6.09(U) | 16.65(U) | 5.7(U) | 10.95(U) | 1.2(U) | 110.69(U)
2019-05-03 05:00 | 5.58(U) | 30.68(U) | 12.37(U) | 18.31(U) | 1.12(U) | 110.21(U)
2019-05-03 05:15 | 3.99(U) | 42.69(U) | 18.86(U) | 23.83(U) | 1.35(U) | 110.21(U)
2019-05-03 05:30 | 4.98(U) | 43.07(U) | 15.84(U) | 27.23(U) | 1.35(U) | 110.21(U)
2019-05-03 05:45 | 5.45(U) | 56.05(U) | 21.95(U) | 34.11(U) | 1.41(U) | 117.52(U)
2019-05-03 06:00 | 5.93(U) | 67.03(U) | 28.45(U) | 38.58(U) | 1.38(U) | 118.43(U)
2019-05-03 06:15 | 3.38(U) | 36.68(U) | 13.68(U) | 23(U) | 1.36(U) | 118.43(U)
2019-05-03 06:30 | 8.07(U) | 29.91(U) | 10.14(U) | 19.77(U) | 1.34(U) | 118.43(U)
2019-05-03 06:45 | 8.41(U) | 33.25(U) | 11.77(U) | 21.48(U) | 1.34(U) | 135.62(U)
2019-05-03 07:00 | 8.17(U) | 30.55(U) | 10.37(U) | 20.18(U) | 1.31(U) | 137.77(U)
2019-05-03 07:15 | 4.1(U) | 34.32(U) | 12.46(U) | 21.86(U) | 1.33(U) | 137.77(U)
2019-05-03 07:30 | 8.06(U) | 47.31(U) | 19.77(U) | 27.54(U) | 1.38(U) | 137.77(U)
2019-05-03 07:45 | 8.72(U) | 48.71(U) | 20.17(U) | 28.54(U) | 1.39(U) | 139.46(U)
2019-05-03 08:00 | 8.83(U) | 48.07(U) | 18.56(U) | 29.51(U) | 1.35(U) | 139.67(U)
2019-05-03 08:15 | 5.46(U) | 28.74(U) | 9.25(U) | 19.49(U) | 1.26(U) | 139.67(U)
2019-05-03 08:30 | 5.87(U) | 27.94(U) | 8.64(U) | 19.3(U) | 1.24(U) | 139.67(U)
2019-05-03 08:45 | 5.4(U) | 23.37(U) | 7.38(U) | 15.98(U) | 1.21(U) | 137.42(U)
2019-05-03 09:00 | 5.71(U) | 23.9(U) | 7.35(U) | 16.55(U) | 1.19(U) | 137.14(U)
2019-05-03 09:15 | 3.7(U) | 27.59(U) | 8.81(U) | 18.78(U) | 1.3(U) | 137.14(U)
2019-05-03 09:30 | 7.77(U) | 27.01(U) | 7.92(U) | 19.09(U) | 1.37(U) | 137.14(U)
2019-05-03 09:45 | 9.53(U) | 25.97(U) | 7.4(U) | 18.57(U) | 1.32(U) | 148.02(U)
2019-05-03 10:00 | 9.57(U) | 29.03(U) | 8.4(U) | 20.62(U) | 1.31(U) | 149.38(U)
2019-05-03 10:15 | 5.84(U) | 28.54(U) | 8.05(U) | 20.48(U) | 1.3(U) | 149.38(U)
2019-05-03 10:30 | 5.8(U) | 29.03(U) | 7.44(U) | 21.58(U) | 1.23(U) | 149.38(U)
2019-05-03 10:45 | 5.04(U) | 22.94(U) | 5.51(U) | 17.43(U) | 1.22(U) | 139.55(U)
2019-05-03 11:00 | 4.25(U) | 23.8(U) | 5.93(U) | 17.87(U) | 1.24(U) | 136.19(U)
2019-05-03 11:15 | 0(U) | 19.12(U) | 3.83(U) | 15.29(U) | 0(U) | 136.19(U)
2019-05-03 11:30 | 5.77(U) | 31.26(U) | 7.85(U) | 23.4(U) | 1.36(U) | 136.19(U)
2019-05-03 11:45 | 7.43(U) | 29.03(U) | 6.42(U) | 22.61(U) | 1.32(U) | 112.21(U)
2019-05-03 12:00 | 6.49(U) | 36.79(U) | 7.99(U) | 28.8(U) | 1.34(U) | 108.87(U)
2019-05-03 12:15 | 1.84(U) | 37.65(U) | 8.44(U) | 29.21(U) | 1.21(U) | 108.87(U)
2019-05-03 12:30 | 4.83(U) | 33.65(U) | 6.81(U) | 26.83(U) | 1.23(U) | 108.87(U)
2019-05-03 12:45 | 6.57(U) | 39.64(U) | 8.41(U) | 31.23(U) | 1.18(U) | 171.05(U)
2019-05-03 13:00 | 5.62(U) | 19.12(U) | 7.1(U) | 28.57(U) | 1.19(U) | 136.19(U)
2019-05-03 13:15 | 0(U) | 18.79(U) | 3.94(U) | 15.05(U) | 1.25(U) | 179.71(U)
2019-05-03 13:30 | 5.21(U) | 23.23(U) | 4.53(U) | 18.7(U) | 1.44(U) | 179.71(U)
2019-05-03 13:45 | 3.68(U) | 21.46(U) | 4.43(U) | 17.03(U) | 1.51(U) | 161.25(U)
2019-05-03 14:00 | 4.23(U) | 24.22(U) | 4.7(U) | 19.52(U) | 1.48(U) | 154.25(U)
2019-05-03 14:15 | 4.26(U) | 36.62(U) | 8.24(U) | 28.38(U) | 1.47(U) | 154.25(U)
2019-05-03 14:30 | 4.06(U) | 36.57(U) | 7.7(U) | 28.86(U) | 1.48(U) | 154.25(U)
2019-05-03 14:45 | 4.73(U) | 37.76(U) | 7.34(U) | 30.43(U) | 1.54(U) | 159.64(U)
2019-05-03 15:00 | 4.48(U) | 51.98(U) | 13.78(U) | 38.19(U) | 1.54(U) | 160.65(U)
2019-05-03 15:15 | 3.61(U) | 26.1(U) | 4.86(U) | 21.24(U) | 1.29(U) | 160.65(U)
2019-05-03 15:30 | 4.16(U) | 24.09(U) | 4.61(U) | 19.48(U) | 1.26(U) | 160.65(U)
2019-05-03 15:45 | 3.33(U) | 26.87(U) | 4.41(U) | 22.46(U) | 1.28(U) | 168.92(U)
2019-05-03 16:00 | 3.94(U) | 28.33(U) | 4.98(U) | 23.35(U) | 1.23(U) | 170.07(U)
2019-05-03 16:15 | 4.41(U) | 26.61(U) | 4.27(U) | 22.34(U) | 1.28(U) | 170.07(U)
2019-05-03 16:30 | 6.76(U) | 27.9(U) | 5.57(U) | 22.32(U) | 1.25(U) | 170.07(U)
2019-05-03 16:45 | 6.35(U) | 22(U) | 3.9(U) | 18.1(U) | 1.29(U) | 166.61(U)
2019-05-03 17:00 | 6.9(U) | 27.28(U) | 4.33(U) | 22.95(U) | 1.3(U) | 166.32(U)
2019-05-03 17:15 | 0(U) | 21.7(U) | 4.04(U) | 17.66(U) | 0(U) | 166.32(U)
2019-05-03 17:30 | 5.5(U) | 19.66(U) | 3.38(U) | 16.28(U) | 1.24(U) | 166.32(U)
2019-05-03 17:45 | 5.8(U) | 24.07(U) | 3.86(U) | 20.21(U) | 1.25(U) | 181.71(U)
2019-05-03 18:00 | 5.33(U) | 24.42(U) | 4.13(U) | 20.29(U) | 1.25(U) | 184.58(U)
2019-05-03 18:15 | 4.17(U) | 29.84(U) | 4.24(U) | 25.6(U) | 1.24(U) | 184.58(U)
2019-05-03 18:30 | 6.75(U) | 41.12(U) | 5.25(U) | 35.86(U) | 1.29(U) | 184.58(U)
2019-05-03 18:45 | 6.97(U) | 42.09(U) | 6.62(U) | 35.47(U) | 1.35(U) | 181.7(U)
2019-05-03 19:00 | 7.79(U) | 57.61(U) | 13.39(U) | 44.22(U) | 1.42(U) | 181.3(U)
2019-05-03 19:15 | 7.68(U) | 57.29(U) | 13.01(U) | 44.28(U) | 1.5(U) | 181.3(U)
2019-05-03 19:30 | 11.18(U) | 45.7(U) | 7.63(U) | 38.07(U) | 1.42(U) | 181.3(U)
2019-05-03 19:45 | 11.38(U) | 65.74(U) | 14.73(U) | 51.01(U) | 1.48(U) | 194.26(U)
2019-05-03 20:00 | 12.86(U) | 49.65(U) | 8.89(U) | 40.75(U) | 1.4(U) | 196.07(U)
2019-05-03 20:15 | 8.02(U) | 53.06(U) | 9.93(U) | 43.13(U) | 1.44(U) | 196.07(U)
2019-05-03 20:30 | 9(U) | 58.24(U) | 10.42(U) | 47.82(U) | 1.5(U) | 196.07(U)
2019-05-03 20:45 | 10.69(U) | 69.73(U) | 18.4(U) | 51.33(U) | 1.47(U) | 202.56(U)
2019-05-03 21:00 | 11.42(U) | 48.76(U) | 10.89(U) | 37.86(U) | 1.29(U) | 203.46(U)
2019-05-03 21:15 | 9.2(U) | 77.45(U) | 27.94(U) | 49.51(U) | 1.64(U) | 203.46(U)
2019-05-03 21:30 | 9.03(U) | 64.83(U) | 20.24(U) | 44.59(U) | 1.39(U) | 203.46(U)
2019-05-03 21:45 | 8.47(U) | 60.95(U) | 20.16(U) | 40.79(U) | 1.43(U) | 204.58(U)
2019-05-03 22:00 | 10.53(U) | 69.19(U) | 25.25(U) | 43.94(U) | 1.41(U) | 204.74(U)
2019-05-03 22:15 | 4.44(U) | 51.84(U) | 16.39(U) | 35.45(U) | 1.43(U) | 204.74(U)
2019-05-03 22:30 | 7.22(U) | 67.55(U) | 25.54(U) | 42.01(U) | 1.43(U) | 204.74(U)
2019-05-03 22:45 | 7.24(U) | 64.37(U) | 23.53(U) | 40.83(U) | 1.44(U) | 212.53(U)
2019-05-03 23:00 | 7.72(U) | 62.08(U) | 21.45(U) | 40.63(U) | 1.38(U) | 213.62(U)
2019-05-03 23:15 | 2.25(U) | 44.25(U) | 13.59(U) | 30.66(U) | 1.34(U) | 213.62(U)
2019-05-03 23:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-03 23:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-03 24:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 00:15 | 2.43(U) | 28.59(U) | 7.75(U) | 20.84(U) | 1.23(U) | 206.71(U)
2019-05-04 00:30 | 4.99(U) | 23.34(U) | 6.01(U) | 17.33(U) | 1.21(U) | 206.71(U)
2019-05-04 00:45 | 6.01(U) | 31.34(U) | 9.77(U) | 21.57(U) | 1.19(U) | 196.44(U)
2019-05-04 01:00 | 5.48(U) | 33.03(U) | 11.05(U) | 21.98(U) | 1.21(U) | 195.01(U)
2019-05-04 01:15 | 3.51(U) | 23.13(U) | 6.15(U) | 16.98(U) | 1.27(U) | 195.01(U)
2019-05-04 01:30 | 5.73(U) | 19.56(U) | 5.31(U) | 14.25(U) | 1.19(U) | 195.01(U)
2019-05-04 01:45 | 5.56(U) | 19.98(U) | 5.36(U) | 14.62(U) | 1.19(U) | 181(U)
2019-05-04 02:00 | 4.94(U) | 17.93(U) | 4.77(U) | 13.16(U) | 1.17(U) | 179.25(U)
2019-05-04 02:15 | 3.79(U) | 20.2(U) | 5.67(U) | 14.52(U) | 1.18(U) | 179.25(U)
2019-05-04 02:30 | 6.74(U) | 18.36(U) | 5.11(U) | 13.25(U) | 1.18(U) | 179.25(U)
2019-05-04 02:45 | 6.78(U) | 20.55(U) | 5.72(U) | 14.83(U) | 1.17(U) | 162.08(U)
2019-05-04 03:00 | 6.1(U) | 18.86(U) | 5.41(U) | 13.45(U) | 1.13(U) | 159.93(U)
2019-05-04 03:15 | 1.53(U) | 19.85(U) | 6.42(U) | 13.43(U) | 1.19(U) | 159.93(U)
2019-05-04 03:30 | 5.04(U) | 21.06(U) | 6.55(U) | 14.51(U) | 1.17(U) | 159.93(U)
2019-05-04 03:45 | 4.7(U) | 21.49(U) | 6.59(U) | 14.91(U) | 1.14(U) | 149.82(U)
2019-05-04 04:00 | 3.78(U) | 35.47(U) | 13.16(U) | 22.31(U) | 1.15(U) | 148.56(U)
2019-05-04 04:15 | 4.4(U) | 28.94(U) | 9.45(U) | 19.49(U) | 1.25(U) | 148.56(U)
2019-05-04 04:30 | 6.8(U) | 27.84(U) | 8.42(U) | 19.42(U) | 1.22(U) | 148.56(U)
2019-05-04 04:45 | 6.62(U) | 25.53(U) | 7.38(U) | 18.16(U) | 1.21(U) | 143.37(U)
2019-05-04 05:00 | 5.96(U) | 32.26(U) | 9.37(U) | 22.89(U) | 1.21(U) | 142.72(U)
2019-05-04 05:15 | 5.1(U) | 48.41(U) | 19.72(U) | 28.69(U) | 1.29(U) | 142.72(U)
2019-05-04 05:30 | 5.42(U) | 68.18(U) | 28.82(U) | 39.36(U) | 1.34(U) | 142.72(U)
2019-05-04 05:45 | 5.98(U) | 80.52(U) | 31.34(U) | 49.17(U) | 1.27(U) | 139.62(U)
2019-05-04 06:00 | 6.54(U) | 87.92(U) | 34.73(U) | 53.19(U) | 1.41(U) | 139.23(U)
2019-05-04 06:15 | 2.8(U) | 69.73(U) | 29.02(U) | 40.71(U) | 1.38(U) | 139.23(U)
2019-05-04 06:30 | 6.13(U) | 66.53(U) | 26.76(U) | 39.78(U) | 1.32(U) | 139.23(U)
2019-05-04 06:45 | 5.07(U) | 38.29(U) | 11.66(U) | 26.62(U) | 1.22(U) | 163.5(U)
2019-05-04 07:00 | 4.91(U) | 42.97(U) | 14.14(U) | 28.83(U) | 1.24(U) | 166.54(U)
2019-05-04 07:15 | 7.69(U) | 46.81(U) | 16.19(U) | 30.62(U) | 1.27(U) | 166.54(U)
2019-05-04 07:30 | 8.2(U) | 35.1(U) | 9.92(U) | 25.18(U) | 1.28(U) | 166.54(U)
2019-05-04 07:45 | 6.1(U) | 26.54(U) | 7.13(U) | 19.4(U) | 1.26(U) | 148.57(U)
2019-05-04 08:00 | 6.87(U) | 27.63(U) | 7.37(U) | 20.26(U) | 1.29(U) | 146.33(U)
2019-05-04 08:15 | 2.13(U) | 42.34(U) | 13.63(U) | 28.7(U) | 1.24(U) | 146.33(U)
2019-05-04 08:30 | 5.47(U) | 46.48(U) | 16.36(U) | 30.11(U) | 1.23(U) | 146.33(U)
2019-05-04 08:45 | 5.94(U) | 46.5(U) | 17.41(U) | 29.08(U) | 1.26(U) | 156.93(U)
2019-05-04 09:00 | 4.79(U) | 26.85(U) | 7.84(U) | 19(U) | 1.25(U) | 158.26(U)
2019-05-04 09:15 | 4.06(U) | 34.06(U) | 10.4(U) | 23.66(U) | 1.35(U) | 158.26(U)
2019-05-04 09:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 09:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 10:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 10:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 10:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 10:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 11:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 11:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 11:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 11:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 12:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 12:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 12:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 12:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 13:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 13:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 13:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 13:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 14:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 14:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 14:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 14:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 15:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 15:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 15:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 15:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 16:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 16:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 16:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 16:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 17:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 17:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 17:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 17:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 18:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 18:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 18:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 18:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 19:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 19:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 19:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 19:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 20:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 20:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 20:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 20:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 21:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 21:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 21:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 21:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 22:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 22:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 22:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 22:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 23:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 23:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 23:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 23:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-04 24:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 00:15 | 5.57(U) | 42(U) | 6.96(U) | 35.04(U) | 1.38(U) | 188.44(U)
2019-05-06 00:30 | 4.6(U) | 48.08(U) | 9.71(U) | 38.36(U) | 1.31(U) | 188.44(U)
2019-05-06 00:45 | 3.13(U) | 33.69(U) | 5.29(U) | 28.4(U) | 1.28(U) | 157.61(U)
2019-05-06 01:00 | 2.92(U) | 31.21(U) | 5.69(U) | 25.52(U) | 1.21(U) | 153.76(U)
2019-05-06 01:15 | 2.54(U) | 31.38(U) | 5.63(U) | 25.75(U) | 1.21(U) | 153.76(U)
2019-05-06 01:30 | 7.38(U) | 25.31(U) | 4.53(U) | 20.77(U) | 1.18(U) | 153.76(U)
2019-05-06 01:45 | 7.59(U) | 21.21(U) | 4.17(U) | 17.04(U) | 1.11(U) | 144.67(U)
2019-05-06 02:00 | 8.48(U) | 19.76(U) | 4.02(U) | 15.74(U) | 1.09(U) | 143.54(U)
2019-05-06 02:15 | 3.81(U) | 19.26(U) | 4.26(U) | 15(U) | 1.25(U) | 143.54(U)
2019-05-06 02:30 | 5.97(U) | 23.49(U) | 5.28(U) | 18.2(U) | 1.24(U) | 143.54(U)
2019-05-06 02:45 | 5.94(U) | 32.02(U) | 7.25(U) | 24.77(U) | 1.23(U) | 101.68(U)
2019-05-06 03:00 | 5.82(U) | 26.12(U) | 4.61(U) | 21.51(U) | 1.21(U) | 96.45(U)
2019-05-06 03:15 | 2.14(U) | 27.71(U) | 4.62(U) | 23.09(U) | 1.24(U) | 96.45(U)
2019-05-06 03:30 | 4.85(U) | 36.66(U) | 7.24(U) | 29.42(U) | 1.27(U) | 96.45(U)
2019-05-06 03:45 | 4.87(U) | 28.94(U) | 5.69(U) | 23.24(U) | 1.22(U) | 110.22(U)
2019-05-06 04:00 | 5.25(U) | 30.89(U) | 5.79(U) | 25.1(U) | 1.24(U) | 111.94(U)
2019-05-06 04:15 | 1.68(U) | 38.03(U) | 7.87(U) | 30.16(U) | 1.26(U) | 111.94(U)
2019-05-06 04:30 | 5.31(U) | 37.2(U) | 7.1(U) | 30.1(U) | 1.24(U) | 111.94(U)
2019-05-06 04:45 | 5.26(U) | 30.46(U) | 5.49(U) | 24.97(U) | 1.23(U) | 86.89(U)
2019-05-06 05:00 | 4.7(U) | 35.13(U) | 7.26(U) | 27.87(U) | 1.26(U) | 83.76(U)
2019-05-06 05:15 | 4.33(U) | 45.08(U) | 12.05(U) | 33.03(U) | 1.34(U) | 83.76(U)
2019-05-06 05:30 | 7.14(U) | 78.61(U) | 28.31(U) | 50.3(U) | 1.36(U) | 83.76(U)
2019-05-06 05:45 | 7.38(U) | 80.46(U) | 28.74(U) | 51.72(U) | 1.41(U) | 108.66(U)
2019-05-06 06:00 | 6.93(U) | 73.13(U) | 25.6(U) | 47.52(U) | 1.39(U) | 111.77(U)
2019-05-06 06:15 | 6.76(U) | 56.01(U) | 19.5(U) | 36.51(U) | 1.47(U) | 111.77(U)
2019-05-06 06:30 | 7.44(U) | 48.96(U) | 15.44(U) | 33.51(U) | 1.37(U) | 111.77(U)
2019-05-06 06:45 | 7.28(U) | 38.38(U) | 10.97(U) | 27.41(U) | 1.29(U) | 138.13(U)
2019-05-06 07:00 | 7.37(U) | 51.54(U) | 18.9(U) | 32.64(U) | 1.39(U) | 141.43(U)
2019-05-06 07:15 | 2.61(U) | 40.34(U) | 12.98(U) | 27.35(U) | 1.35(U) | 141.43(U)
2019-05-06 07:30 | 5.54(U) | 44.31(U) | 14.86(U) | 29.45(U) | 1.36(U) | 141.43(U)
2019-05-06 07:45 | 6.13(U) | 43.81(U) | 14.33(U) | 29.48(U) | 1.31(U) | 137.86(U)
2019-05-06 08:00 | 7.1(U) | 38.25(U) | 10.68(U) | 27.57(U) | 1.24(U) | 137.42(U)
2019-05-06 08:15 | 5.02(U) | 29.8(U) | 7.05(U) | 22.75(U) | 1.37(U) | 137.42(U)
2019-05-06 08:30 | 6.64(U) | 27.55(U) | 5.96(U) | 21.59(U) | 1.3(U) | 137.42(U)
2019-05-06 08:45 | 7.2(U) | 28(U) | 6.63(U) | 21.36(U) | 1.28(U) | 153.7(U)
2019-05-06 09:00 | 7.27(U) | 25.4(U) | 5.74(U) | 19.66(U) | 1.29(U) | 155.74(U)
2019-05-06 09:15 | 6.22(U) | 34.95(U) | 9.48(U) | 25.47(U) | 1.28(U) | 155.74(U)
2019-05-06 09:30 | 6.63(U) | 29.23(U) | 6.4(U) | 22.84(U) | 1.3(U) | 155.74(U)
2019-05-06 09:45 | 7.18(U) | 36.12(U) | 8.81(U) | 27.31(U) | 1.23(U) | 155.61(U)
2019-05-06 10:00 | 6.5(U) | 24.81(U) | 4.32(U) | 20.49(U) | 1.23(U) | 155.59(U)
2019-05-06 10:15 | 3.68(U) | 26.11(U) | 4.65(U) | 21.46(U) | 1.28(U) | 155.59(U)
2019-05-06 10:30 | 5.53(U) | 28.92(U) | 4.63(U) | 24.28(U) | 1.3(U) | 155.59(U)
2019-05-06 10:45 | 6.47(U) | 29.98(U) | 4.73(U) | 25.25(U) | 1.33(U) | 165.89(U)
2019-05-06 11:00 | 6.01(U) | 27.84(U) | 4.98(U) | 22.86(U) | 1.29(U) | 167.18(U)
2019-05-06 11:15 | 4.38(U) | 30.43(U) | 4.27(U) | 26.16(U) | 1.31(U) | 167.18(U)
2019-05-06 11:30 | 7.64(U) | 27.77(U) | 3.94(U) | 23.83(U) | 1.26(U) | 167.18(U)
2019-05-06 11:45 | N(I) | N(I) | N(I) | N(I) | N(I) | N(I)
2019-05-06 12:00 | N(I) | N(I) | N(I) | N(I) | N(I) | N(I)
2019-05-06 12:15 | N(N) | N(I) | N(I) | N(I) | N(I) | N(I)
2019-05-06 12:30 | N(N) | N(N) | N(I) | N(N) | N(N) | N(N)
2019-05-06 12:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 13:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 13:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 13:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 13:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 14:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 14:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 14:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 14:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 15:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 15:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 15:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 15:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 16:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 16:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 16:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 16:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 17:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 17:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 17:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 17:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 18:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 18:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 18:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 18:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 19:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 19:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 19:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 19:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 20:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 20:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 20:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 20:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 21:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 21:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 21:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 21:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 22:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 22:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 22:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 22:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 23:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 23:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 23:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 23:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-06 24:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-09 00:15 | 4.37(U) | 30.43(U) | 7.96(U) | 22.48(U) | 1.56(U) | 178.78(U)
2019-05-09 00:30 | 8.95(U) | 30.99(U) | 7.93(U) | 23.06(U) | 1.27(U) | 178.78(U)
2019-05-09 00:45 | 8.55(U) | 25.75(U) | 6.05(U) | 19.7(U) | 1.72(U) | 149.2(U)
2019-05-09 01:00 | 7.58(U) | 27.21(U) | 7.22(U) | 20(U) | 1.67(U) | 145.08(U)
2019-05-09 01:15 | 3.41(U) | 32.94(U) | 9.8(U) | 23.14(U) | 1.88(U) | 145.08(U)
2019-05-09 01:30 | 3.87(U) | 28.24(U) | 7.28(U) | 20.95(U) | 1.35(U) | 145.08(U)
2019-05-09 01:45 | 3.53(U) | 25.46(U) | 6.42(U) | 19.04(U) | 1.25(U) | 114.52(U)
2019-05-09 02:00 | 2.54(U) | 24.31(U) | 5.72(U) | 18.6(U) | 1.43(U) | 110.7(U)
2019-05-09 02:15 | 3.47(U) | 28.13(U) | 7.81(U) | 20.32(U) | 1.01(U) | 110.7(U)
2019-05-09 02:30 | 3.34(U) | 21.35(U) | 5.24(U) | 16.1(U) | 1(U) | 110.7(U)
2019-05-09 02:45 | 2.73(U) | 22.73(U) | 5.88(U) | 16.86(U) | 1(U) | 97.3(U)
2019-05-09 03:00 | 2.13(U) | 26.12(U) | 7.26(U) | 18.86(U) | 1(U) | 95.63(U)
2019-05-09 03:15 | 1.44(U) | 22.98(U) | 6.71(U) | 16.27(U) | 1.54(U) | 95.63(U)
2019-05-09 03:30 | 3.05(U) | 27.45(U) | 9.07(U) | 18.38(U) | 1.76(U) | 95.63(U)
2019-05-09 03:45 | 3.83(U) | 28.6(U) | 9(U) | 19.6(U) | 1.69(U) | 79.21(U)
2019-05-09 04:00 | 2.49(U) | 31.24(U) | 9.74(U) | 21.49(U) | 1.23(U) | 77.16(U)
2019-05-09 04:15 | 2.09(U) | 39.88(U) | 15.35(U) | 24.53(U) | 1.41(U) | 77.16(U)
2019-05-09 04:30 | 5.21(U) | 48.42(U) | 18.8(U) | 29.62(U) | 1.7(U) | 77.16(U)
2019-05-09 04:45 | 4.77(U) | 35.73(U) | 11.6(U) | 24.13(U) | 1.83(U) | 97.75(U)
2019-05-09 05:00 | 5.28(U) | 43.29(U) | 15.25(U) | 28.04(U) | 1.86(U) | 100.32(U)
2019-05-09 05:15 | 2.6(U) | 49.27(U) | 20.15(U) | 29.13(U) | 1.45(U) | 100.32(U)
2019-05-09 05:30 | 6.04(U) | 65.92(U) | 28.11(U) | 37.81(U) | 2.08(U) | 100.32(U)
2019-05-09 05:45 | 5.63(U) | 83.07(U) | 38.07(U) | 45(U) | 2.52(U) | 102.02(U)
2019-05-09 06:00 | 7.28(U) | 100.73(U) | 46.03(U) | 54.7(U) | 2.36(U) | 102.23(U)
2019-05-09 06:15 | 2.87(U) | 77.05(U) | 35.13(U) | 41.92(U) | 1.55(U) | 102.23(U)
2019-05-09 06:30 | 2.19(U) | 75.92(U) | 35.61(U) | 40.31(U) | 1.99(U) | 102.23(U)
2019-05-09 06:45 | 3.68(U) | 72.79(U) | 33.71(U) | 39.08(U) | 2.18(U) | 132.61(U)
2019-05-09 07:00 | 3.53(U) | 61.3(U) | 14.08(U) | 36.07(U) | 1.27(U) | 136.41(U)
2019-05-09 07:15 | 0(U) | 45.64(U) | 17.5(U) | 28.14(U) | 1.38(U) | 136.41(U)
2019-05-09 07:30 | 5.09(U) | 52.56(U) | 21.94(U) | 30.62(U) | 1.46(U) | 136.41(U)
2019-05-09 07:45 | 7.02(U) | 36.88(U) | 12.12(U) | 24.76(U) | 1.41(U) | 136.41(U)
2019-05-09 08:00 | 7.08(U) | 41.37(U) | 15.62(U) | 25.75(U) | 1.41(U) | 136.41(U)
2019-05-09 08:15 | 2.87(U) | 44.82(U) | 18.48(U) | 26.34(U) | 1.31(U) | 136.41(U)
2019-05-09 08:30 | 5.38(U) | 40.98(U) | 14.42(U) | 26.56(U) | 1.29(U) | 136.41(U)
2019-05-09 08:45 | 4.26(U) | 29.3(U) | 9.12(U) | 20.18(U) | 1.24(U) | 136.41(U)
2019-05-09 09:00 | 4.23(U) | 23.43(U) | 6.71(U) | 16.72(U) | 1.19(U) | 136.41(U)
2019-05-09 09:15 | 1.67(U) | 22.6(U) | 7.54(U) | 15.06(U) | 1.26(U) | 136.41(U)
2019-05-09 09:30 | 6.05(U) | 26.01(U) | 8.47(U) | 17.54(U) | 1.23(U) | 136.41(U)
2019-05-09 09:45 | 5.57(U) | 24.13(U) | 7.27(U) | 16.86(U) | 1.2(U) | 136.41(U)
2019-05-09 10:00 | 6.98(U) | 23.76(U) | 6.59(U) | 17.17(U) | 1.18(U) | 136.41(U)
2019-05-09 10:15 | 4.9(U) | 20.68(U) | 5.66(U) | 15.02(U) | 1.25(U) | 136.41(U)
2019-05-09 10:30 | 7.67(U) | 25.52(U) | 6.99(U) | 18.53(U) | 1.27(U) | 119.98(U)
2019-05-09 10:45 | 7.5(U) | 25.16(U) | 6.28(U) | 18.88(U) | 1.24(U) | 97.79(U)
2019-05-09 11:00 | 7.26(U) | 20.56(U) | 4.88(U) | 15.68(U) | 1.22(U) | 94.54(U)
2019-05-09 11:15 | 6.65(U) | 18.33(U) | 4.39(U) | 13.94(U) | 1.25(U) | 94.54(U)
2019-05-09 11:30 | 5.44(U) | 21.87(U) | 5.64(U) | 16.23(U) | 1.31(U) | 94.54(U)
2019-05-09 11:45 | 5.29(U) | 22.14(U) | 5.21(U) | 16.92(U) | 1.24(U) | 97.06(U)
2019-05-09 12:00 | 5.35(U) | 19.23(U) | 4.86(U) | 14.36(U) | 1.21(U) | 97.5(U)
2019-05-09 12:15 | 1.47(U) | 17.75(U) | 4.05(U) | 13.71(U) | 1.32(U) | 97.5(U)
2019-05-09 12:30 | 3.12(U) | 19.79(U) | 4.6(U) | 15.19(U) | 1.27(U) | 97.5(U)
2019-05-09 12:45 | 2.43(U) | 18.43(U) | 4.33(U) | 14.09(U) | 1.22(U) | 113.97(U)
2019-05-09 13:00 | 1.74(U) | 20.19(U) | 4.58(U) | 15.61(U) | 1.22(U) | 116.26(U)
2019-05-09 13:15 | 1.33(U) | 18.53(U) | 3.94(U) | 14.59(U) | 1.21(U) | 116.26(U)
2019-05-09 13:30 | 3.38(U) | 19.18(U) | 4.14(U) | 15.05(U) | 1.22(U) | 116.26(U)
2019-05-09 13:45 | 4.41(U) | 23.26(U) | 4.54(U) | 18.72(U) | 1.2(U) | 119.52(U)
2019-05-09 14:00 | 4.52(U) | 23.18(U) | 4.89(U) | 18.29(U) | 1.18(U) | 119.98(U)
2019-05-09 14:15 | 2.83(U) | 20.18(U) | 4.59(U) | 15.6(U) | 1.28(U) | 119.98(U)
2019-05-09 14:30 | 6.52(U) | 19.86(U) | 4.2(U) | 15.66(U) | 1.26(U) | 119.98(U)
2019-05-09 14:45 | 7(U) | 20.32(U) | 4.28(U) | 16.04(U) | 1.26(U) | 152.76(U)
2019-05-09 15:00 | 7.08(U) | 18.17(U) | 4.09(U) | 14.08(U) | 1.23(U) | 157.33(U)
2019-05-09 15:15 | 5.58(U) | 20.89(U) | 4.51(U) | 16.38(U) | 1.3(U) | 157.33(U)
2019-05-09 15:30 | 6.13(U) | 19.54(U) | 4.14(U) | 15.4(U) | 1.31(U) | 157.33(U)
2019-05-09 15:45 | 6.2(U) | 21.67(U) | 4.36(U) | 17.31(U) | 1.28(U) | 190.25(U)
2019-05-09 16:00 | 5.96(U) | 24.07(U) | 4.94(U) | 19.13(U) | 1.32(U) | 194.84(U)
2019-05-09 16:15 | 3.27(U) | 23.29(U) | 4.28(U) | 19.01(U) | 1.22(U) | 194.84(U)
2019-05-09 16:30 | 3.52(U) | 21.4(U) | 4.14(U) | 17.26(U) | 1.26(U) | 194.84(U)
2019-05-09 16:45 | 4.34(U) | 26(U) | 4.86(U) | 21.13(U) | 1.25(U) | 196.25(U)
2019-05-09 17:00 | 3.67(U) | 22.91(U) | 4.45(U) | 18.46(U) | 1.26(U) | 196.45(U)
2019-05-09 17:15 | 5.12(U) | 19.03(U) | 3.58(U) | 15.45(U) | 1.31(U) | 196.45(U)
2019-05-09 17:30 | 8.37(U) | 32.42(U) | 6.05(U) | 26.37(U) | 1.35(U) | 196.45(U)
2019-05-09 17:45 | 7.41(U) | 33.93(U) | 5.97(U) | 27.96(U) | 1.37(U) | 187.92(U)
2019-05-09 18:00 | 7.41(U) | 31.59(U) | 4.84(U) | 26.75(U) | 1.41(U) | 186.73(U)
2019-05-09 18:15 | 5.75(U) | 27.42(U) | 4.13(U) | 23.29(U) | 1.27(U) | 186.73(U)
2019-05-09 18:30 | 3.77(U) | 39.01(U) | 6.65(U) | 32.36(U) | 1.33(U) | 186.73(U)
2019-05-09 18:45 | 4.02(U) | 52.14(U) | 10.18(U) | 41.96(U) | 1.41(U) | 178.76(U)
2019-05-09 19:00 | 4.32(U) | 55(U) | 10.55(U) | 44.45(U) | 1.45(U) | 177.65(U)
2019-05-09 19:15 | 3.52(U) | 52.91(U) | 10.56(U) | 42.35(U) | 1.44(U) | 177.65(U)
2019-05-09 19:30 | 6.64(U) | 72.49(U) | 20.89(U) | 51.6(U) | 1.5(U) | 177.65(U)
2019-05-09 19:45 | 9.24(U) | 97.99(U) | 36.69(U) | 61.3(U) | 1.56(U) | 180.43(U)
2019-05-09 20:00 | 10.55(U) | 103.84(U) | 39.93(U) | 63.91(U) | 1.57(U) | 180.82(U)
2019-05-09 20:15 | 6.88(U) | 110.07(U) | 46.23(U) | 63.83(U) | 1.59(U) | 180.82(U)
2019-05-09 20:30 | 7.42(U) | 112.53(U) | 46.28(U) | 66.26(U) | 1.64(U) | 180.82(U)
2019-05-09 20:45 | 7.89(U) | 96.31(U) | 36.05(U) | 60.26(U) | 1.69(U) | 214.79(U)
2019-05-09 21:00 | 12.12(U) | 117.36(U) | 48.06(U) | 69.29(U) | 1.82(U) | 219.52(U)
2019-05-09 21:15 | 10.42(U) | 116.51(U) | 50.43(U) | 66.08(U) | 1.87(U) | 219.52(U)
2019-05-09 21:30 | 8(U) | 92.06(U) | 33.25(U) | 58.81(U) | 1.74(U) | 219.52(U)
2019-05-09 21:45 | 10.39(U) | 100.05(U) | 37.89(U) | 62.16(U) | 1.76(U) | 257.14(U)
2019-05-09 22:00 | 14.55(U) | 113.27(U) | 46.93(U) | 66.34(U) | 1.99(U) | 262.38(U)
2019-05-09 22:15 | 9.85(U) | 112.05(U) | 47.37(U) | 64.68(U) | 1.77(U) | 262.38(U)
2019-05-09 22:30 | 4.94(U) | 83.56(U) | 27.93(U) | 55.62(U) | 1.5(U) | 262.38(U)
2019-05-09 22:45 | 4.42(U) | 85.83(U) | 29.21(U) | 56.62(U) | 1.4(U) | 259.46(U)
2019-05-09 23:00 | 6.24(U) | 62.52(U) | 16.73(U) | 45.79(U) | 1.34(U) | 259.05(U)
2019-05-09 23:15 | 4.46(U) | 64.97(U) | 19.87(U) | 45.09(U) | 1.3(U) | 259.05(U)
2019-05-09 23:30 | 6.62(U) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-09 23:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-09 24:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 00:15 | 1.84(U) | 40.06(U) | 11.51(U) | 28.55(U) | 1.22(U) | 240.58(U)
2019-05-10 00:30 | 4.33(U) | 42.95(U) | 12.78(U) | 30.17(U) | 1.29(U) | 240.58(U)
2019-05-10 00:45 | 3.16(U) | 28.72(U) | 6.53(U) | 22.19(U) | 1.18(U) | 175.78(U)
2019-05-10 01:00 | 2.29(U) | 28.26(U) | 6.82(U) | 21.44(U) | 1.17(U) | 166.76(U)
2019-05-10 01:15 | 2.48(U) | 24.32(U) | 5.61(U) | 18.7(U) | 1.2(U) | 166.76(U)
2019-05-10 01:30 | 4.46(U) | 22.25(U) | 5.16(U) | 17.09(U) | 1.15(U) | 166.76(U)
2019-05-10 01:45 | 3.58(U) | 33.23(U) | 9.52(U) | 23.71(U) | 1.15(U) | 137.96(U)
2019-05-10 02:00 | 3.28(U) | 30.27(U) | 7.42(U) | 22.86(U) | 1.12(U) | 134.36(U)
2019-05-10 02:15 | 7.69(U) | 22.25(U) | 4.88(U) | 17.37(U) | 1.17(U) | 134.36(U)
2019-05-10 02:30 | 7.5(U) | 19.96(U) | 4.21(U) | 15.75(U) | 1.12(U) | 134.36(U)
2019-05-10 02:45 | 6.35(U) | 16.19(U) | 3.75(U) | 12.43(U) | 1.1(U) | 109.3(U)
2019-05-10 03:00 | 3.45(U) | 21.37(U) | 5.41(U) | 15.96(U) | 1.13(U) | 106.17(U)
2019-05-10 03:15 | 1.69(U) | 18.95(U) | 4.6(U) | 14.35(U) | 1.17(U) | 106.17(U)
2019-05-10 03:30 | 2.99(U) | 29.73(U) | 8.44(U) | 21.29(U) | 1.17(U) | 106.17(U)
2019-05-10 03:45 | 2.02(U) | 22.82(U) | 5.27(U) | 17.55(U) | 1.15(U) | 79.98(U)
2019-05-10 04:00 | 1.43(U) | 20.88(U) | 5.13(U) | 15.75(U) | 1.14(U) | 76.71(U)
2019-05-10 04:15 | 5.97(U) | 20.8(U) | 5.05(U) | 15.75(U) | 1.21(U) | 76.71(U)
2019-05-10 04:30 | 6.48(U) | 22.4(U) | 5.56(U) | 16.84(U) | 1.17(U) | 76.71(U)
2019-05-10 04:45 | 4.68(U) | 22.98(U) | 5.68(U) | 17.3(U) | 1.17(U) | 81.85(U)
2019-05-10 05:00 | 4.25(U) | 28.08(U) | 7.47(U) | 20.61(U) | 1.18(U) | 82.49(U)
2019-05-10 05:15 | 6.53(U) | 33.47(U) | 10.09(U) | 23.38(U) | 1.24(U) | 82.49(U)
2019-05-10 05:30 | 6.26(U) | 55.72(U) | 20.29(U) | 35.43(U) | 1.18(U) | 82.49(U)
2019-05-10 05:45 | 5.54(U) | 60.78(U) | 21.2(U) | 39.58(U) | 1.22(U) | 83.96(U)
2019-05-10 06:00 | 4.81(U) | 55.9(U) | 19.11(U) | 36.79(U) | 1.26(U) | 84.14(U)
2019-05-10 06:15 | 4.8(U) | 45.4(U) | 14.78(U) | 30.61(U) | 1.34(U) | 84.14(U)
2019-05-10 06:30 | 7.91(U) | 49.79(U) | 17.46(U) | 32.33(U) | 1.37(U) | 84.14(U)
2019-05-10 06:45 | 8.29(U) | 51.62(U) | 18.94(U) | 32.69(U) | 1.34(U) | 125.61(U)
2019-05-10 07:00 | 8.89(U) | 64.26(U) | 26.26(U) | 37.99(U) | 1.39(U) | 130.79(U)
2019-05-10 07:15 | 6.71(U) | 54.79(U) | 20.71(U) | 34.08(U) | 1.52(U) | 130.79(U)
2019-05-10 07:30 | 7.27(U) | 58.74(U) | 21.17(U) | 37.57(U) | 1.37(U) | 130.79(U)
2019-05-10 07:45 | 7.55(U) | 66.84(U) | 25.73(U) | 41.11(U) | 1.39(U) | 127.65(U)
2019-05-10 08:00 | 8.63(U) | 50.42(U) | 15.93(U) | 34.49(U) | 1.3(U) | 127.26(U)
2019-05-10 08:15 | 3.61(U) | 40.78(U) | 12.07(U) | 28.7(U) | 1.28(U) | 127.26(U)
2019-05-10 08:30 | 8.65(U) | 29.14(U) | 6.7(U) | 22.43(U) | 1.28(U) | 127.26(U)
2019-05-10 08:45 | 9.73(U) | 28.06(U) | 6.25(U) | 21.81(U) | 1.27(U) | 133.03(U)
2019-05-10 09:00 | 9.48(U) | 32.97(U) | 7.32(U) | 25.65(U) | 1.3(U) | 133.75(U)
2019-05-10 09:15 | 6.04(U) | 33.59(U) | 7.44(U) | 26.14(U) | 1.27(U) | 133.75(U)
2019-05-10 09:30 | 5.88(U) | 29.95(U) | 5.87(U) | 24.08(U) | 1.27(U) | 133.75(U)
2019-05-10 09:45 | 5.3(U) | 31.5(U) | 5.76(U) | 25.74(U) | 1.26(U) | 114.5(U)
2019-05-10 10:00 | 4.54(U) | 28.93(U) | 4.94(U) | 23.99(U) | 1.29(U) | 112.1(U)
2019-05-10 10:15 | 3.58(U) | 29.88(U) | 4.79(U) | 25.09(U) | 1.22(U) | 112.1(U)
2019-05-10 10:30 | 5.14(U) | 28.89(U) | 4.59(U) | 24.31(U) | 1.25(U) | 112.1(U)
2019-05-10 10:45 | 5.63(U) | 29.19(U) | 4.25(U) | 24.95(U) | 1.25(U) | 104.19(U)
2019-05-10 11:00 | 4.95(U) | 26.29(U) | 4.29(U) | 22(U) | 1.23(U) | 102.97(U)
2019-05-10 11:15 | 0(U) | 26.82(U) | 4.82(U) | 22(U) | 0(U) | 102.97(U)
2019-05-10 11:30 | 4.38(U) | 33.67(U) | 6(U) | 27.67(U) | 1.25(U) | 102.97(U)
2019-05-10 11:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 12:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 12:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 12:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 12:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 13:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 13:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 13:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 13:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 14:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 14:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 14:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 14:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 15:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 15:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 15:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 15:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 16:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 16:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 16:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 16:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 17:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 17:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 17:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 17:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 18:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 18:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 18:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 18:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 19:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 19:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 19:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 19:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 20:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 20:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 20:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 20:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 21:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 21:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 21:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 21:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 22:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 22:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 22:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 22:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 23:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 23:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 23:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 23:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-05-10 24:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)