## Simple
Average Report
Industry(ies) | KARNATAKA STATE POLLUTION CONTROL BOARD
Station(s) | City Railway station
Parameter(s) | (SO2), (NOX), (NO), (NO2), (CO), (PM10)
Avg Period | 15min Avg
Date | From: 01-Sep-2019 To: 30-Sep-2019
Diagnostic Flags: | U - Usable | D - Calibration Drift | F - Faulty | I - Invalidated | M - Maintenance | C - Calibration | N - Non-obtained | W - Warning | G - Out of Range | Z - Zero
| City Railway station | City Railway station | City Railway station | City Railway station | City Railway station | City Railway station
Date & Time | (SO2(ug/m3) | (NOX(ug/m3) | (NO(ug/m3) | (NO2(ug/m3) | (CO(mg/m3) | (PM10(ug/m3)
2019-09-04 00:15 | 6.26(U) | 26.31(U) | 5.49(U) | 20.82(U) | 1.45(U) | 51.14(U)
2019-09-04 00:30 | 9.12(U) | 23.9(U) | 4.92(U) | 18.98(U) | 1.72(U) | 51.14(U)
2019-09-04 00:45 | 9.17(U) | 16.98(U) | 2.59(U) | 14.39(U) | 1.44(U) | 42.32(U)
2019-09-04 01:00 | 9.28(U) | 25.78(U) | 6.38(U) | 19.4(U) | 1.61(U) | 37.68(U)
2019-09-04 01:15 | 6.02(U) | 26.66(U) | 6.6(U) | 20.06(U) | 1.5(U) | 37.68(U)
2019-09-04 01:30 | 9.63(U) | 26.3(U) | 6.21(U) | 20.09(U) | 1.26(U) | 37.68(U)
2019-09-04 01:45 | 9.31(U) | 23.89(U) | 5.39(U) | 18.5(U) | 1.25(U) | 46.51(U)
2019-09-04 02:00 | 8.93(U) | 17.31(U) | 3.26(U) | 14.05(U) | 1.2(U) | 51.15(U)
2019-09-04 02:15 | 5.36(U) | 13.37(U) | 1.87(U) | 11.5(U) | 1.41(U) | 51.15(U)
2019-09-04 02:30 | 9.25(U) | 15.63(U) | 2.9(U) | 12.72(U) | 1.43(U) | 51.15(U)
2019-09-04 02:45 | 9.74(U) | 10.48(U) | 1.43(U) | 9.05(U) | 1.14(U) | 55.48(U)
2019-09-04 03:00 | 9.63(U) | 10.92(U) | 1.38(U) | 9.55(U) | 1.01(U) | 57.76(U)
2019-09-04 03:15 | 6.78(U) | 16.28(U) | 3.64(U) | 12.64(U) | 1.38(U) | 57.76(U)
2019-09-04 03:30 | 6.68(U) | 16.21(U) | 3.45(U) | 12.75(U) | 1.28(U) | 57.76(U)
2019-09-04 03:45 | 6.99(U) | 44.2(U) | 14.54(U) | 29.66(U) | 1.35(U) | 40.28(U)
2019-09-04 04:00 | 7.03(U) | 29.1(U) | 8.28(U) | 20.81(U) | 1.32(U) | 31.1(U)
2019-09-04 04:15 | 5.35(U) | 47.42(U) | 16.81(U) | 30.61(U) | 1.33(U) | 31.1(U)
2019-09-04 04:30 | 8.32(U) | 34.32(U) | 10.64(U) | 23.68(U) | 1.29(U) | 31.1(U)
2019-09-04 04:45 | 8.64(U) | 30.56(U) | 9.04(U) | 21.53(U) | 1.18(U) | 42.3(U)
2019-09-04 05:00 | 8.31(U) | 44.03(U) | 14.77(U) | 29.26(U) | 1.35(U) | 48.19(U)
2019-09-04 05:15 | 6.59(U) | 58.73(U) | 20.84(U) | 37.89(U) | 1.78(U) | 48.19(U)
2019-09-04 05:30 | 9.48(U) | 74.06(U) | 26.41(U) | 47.64(U) | 1.65(U) | 48.19(U)
2019-09-04 05:45 | 9.83(U) | 98.55(U) | 36.41(U) | 62.14(U) | 2.03(U) | 51.49(U)
2019-09-04 06:00 | 10.2(U) | 115.33(U) | 43.29(U) | 72.04(U) | 2.11(U) | 53.22(U)
2019-09-04 06:15 | 6.75(U) | 85.89(U) | 31.87(U) | 54.02(U) | 1.64(U) | 53.22(U)
2019-09-04 06:30 | 9.82(U) | 86.36(U) | 31.85(U) | 54.51(U) | 2.03(U) | 53.22(U)
2019-09-04 06:45 | 11.08(U) | 84.27(U) | 31.19(U) | 53.08(U) | 2.05(U) | 80.17(U)
2019-09-04 07:00 | 10.96(U) | 103.2(U) | 38.99(U) | 64.21(U) | 2.11(U) | 94.33(U)
2019-09-04 07:15 | 7.46(U) | 76.48(U) | 28.21(U) | 48.26(U) | 1.38(U) | 94.33(U)
2019-09-04 07:30 | 9.71(U) | 46.32(U) | 14.35(U) | 31.96(U) | 1.25(U) | 94.33(U)
2019-09-04 07:45 | 9.63(U) | 35.81(U) | 10.03(U) | 25.78(U) | 1.13(U) | 90.88(U)
2019-09-04 08:00 | 9.96(U) | 62.84(U) | 21.08(U) | 41.76(U) | 1.49(U) | 89.07(U)
2019-09-04 08:15 | 6.48(U) | 76.38(U) | 27.53(U) | 48.86(U) | 1.99(U) | 89.07(U)
2019-09-04 08:30 | 8.27(U) | 85.57(U) | 30.95(U) | 54.62(U) | 2.11(U) | 89.07(U)
2019-09-04 08:45 | 8.38(U) | 77.62(U) | 27.32(U) | 50.3(U) | 1.74(U) | 91.65(U)
2019-09-04 09:00 | 7.67(U) | 62.93(U) | 20.86(U) | 42.06(U) | 1.64(U) | 93(U)
2019-09-04 09:15 | 6.66(U) | 68.79(U) | 23.63(U) | 45.17(U) | 2.79(U) | 93(U)
2019-09-04 09:30 | 10.15(U) | 80.33(U) | 28.18(U) | 52.15(U) | 2.69(U) | 93(U)
2019-09-04 09:45 | 11.09(U) | 80.59(U) | 28.03(U) | 52.56(U) | 2.52(U) | 97.69(U)
2019-09-04 10:00 | 12(U) | 92.79(U) | 32.76(U) | 60.03(U) | 2.66(U) | 100.16(U)
2019-09-04 10:15 | 8.83(U) | 73.8(U) | 25.71(U) | 48.09(U) | 1.91(U) | 100.16(U)
2019-09-04 10:30 | 10.65(U) | 68.66(U) | 23.04(U) | 45.63(U) | 1.87(U) | 100.16(U)
2019-09-04 10:45 | 11.1(U) | 64.11(U) | 20.49(U) | 43.62(U) | 1.62(U) | 128.79(U)
2019-09-04 11:00 | 10.42(U) | 58.06(U) | 18.18(U) | 39.87(U) | 1.49(U) | 143.84(U)
2019-09-04 11:15 | 6.85(U) | 48.98(U) | 14.8(U) | 34.18(U) | 1.87(U) | 143.84(U)
2019-09-04 11:30 | 10.56(U) | 72.76(U) | 24.22(U) | 48.53(U) | 1.93(U) | 143.84(U)
2019-09-04 11:45 | 10.34(U) | 64.12(U) | 21.01(U) | 43.11(U) | 1.57(U) | 119.5(U)
2019-09-04 12:00 | 10.87(U) | 64.49(U) | 21.61(U) | 42.88(U) | 1.51(U) | 106.72(U)
2019-09-04 12:15 | 7.64(U) | 40.49(U) | 10.85(U) | 29.64(U) | 1.54(U) | 106.72(U)
2019-09-04 12:30 | 9.24(U) | 60.43(U) | 18.58(U) | 41.85(U) | 1.39(U) | 106.72(U)
2019-09-04 12:45 | 8.69(U) | 62.9(U) | 19.45(U) | 43.45(U) | 1.3(U) | 107.55(U)
2019-09-04 13:00 | 9.31(U) | 62.36(U) | 18.2(U) | 44.16(U) | 1.45(U) | 107.98(U)
2019-09-04 13:15 | 7.36(U) | 69.41(U) | 23.35(U) | 46.06(U) | 1.86(U) | 107.98(U)
2019-09-04 13:30 | 9.02(U) | 66.78(U) | 22.08(U) | 44.71(U) | 1.95(U) | 107.98(U)
2019-09-04 13:45 | 9.16(U) | 70.52(U) | 23.7(U) | 46.82(U) | 1.97(U) | 107.3(U)
2019-09-04 14:00 | 9.68(U) | 62.14(U) | 20.54(U) | 41.6(U) | 1.46(U) | 106.95(U)
2019-09-04 14:15 | 9.38(U) | 51.5(U) | 17.1(U) | 34.39(U) | 1.46(U) | 106.95(U)
2019-09-04 14:30 | 11.26(U) | 36.78(U) | 10.4(U) | 26.38(U) | 1.35(U) | 106.95(U)
2019-09-04 14:45 | 11.03(U) | 44.75(U) | 13.31(U) | 31.43(U) | 1.08(U) | 86.23(U)
2019-09-04 15:00 | 10.57(U) | 47.87(U) | 14.19(U) | 33.67(U) | 1.23(U) | 75.35(U)
2019-09-04 15:15 | 6.64(U) | 40.47(U) | 11.06(U) | 29.41(U) | 1.15(U) | 75.35(U)
2019-09-04 15:30 | 8.63(U) | 34.74(U) | 7.61(U) | 27.13(U) | 1.35(U) | 75.35(U)
2019-09-04 15:45 | 8.08(U) | 32.99(U) | 5.17(U) | 27.81(U) | 1.11(U) | 80.17(U)
2019-09-04 16:00 | 7.83(U) | 39.04(U) | 7.31(U) | 31.74(U) | 1.17(U) | 82.71(U)
2019-09-04 16:15 | 4.86(U) | 41.95(U) | 9.68(U) | 32.27(U) | 1.39(U) | 82.71(U)
2019-09-04 16:30 | 7.1(U) | 36.87(U) | 7.3(U) | 29.57(U) | 1.28(U) | 82.71(U)
2019-09-04 16:45 | 7.69(U) | 30.88(U) | 5.74(U) | 25.14(U) | 1.22(U) | 75.11(U)
2019-09-04 17:00 | 7.31(U) | 26.77(U) | 5.43(U) | 21.34(U) | 1.08(U) | 71.12(U)
2019-09-04 17:15 | 5.53(U) | 24.55(U) | 4.7(U) | 19.85(U) | 1.36(U) | 71.12(U)
2019-09-04 17:30 | 8.36(U) | 27.49(U) | 5.3(U) | 22.19(U) | 1.21(U) | 71.12(U)
2019-09-04 17:45 | 7.9(U) | 22.07(U) | 2.94(U) | 19.13(U) | 1.09(U) | 67.79(U)
2019-09-04 18:00 | 7.85(U) | 30.53(U) | 5.96(U) | 24.57(U) | 1.2(U) | 66.04(U)
2019-09-04 18:15 | 6.64(U) | 32.03(U) | 6.91(U) | 25.12(U) | 1.5(U) | 66.04(U)
2019-09-04 18:30 | 9.15(U) | 50(U) | 13.2(U) | 36.81(U) | 1.9(U) | 66.04(U)
2019-09-04 18:45 | 9.18(U) | 80.73(U) | 26.88(U) | 53.85(U) | 2.26(U) | 67.72(U)
2019-09-04 19:00 | 10.01(U) | 101.5(U) | 36.19(U) | 65.32(U) | 2.85(U) | 68.61(U)
2019-09-04 19:15 | 7.26(U) | 96.84(U) | 35.69(U) | 61.14(U) | 1.53(U) | 68.61(U)
2019-09-04 19:30 | 9.51(U) | 64.68(U) | 20.63(U) | 44.05(U) | 1.97(U) | 68.61(U)
2019-09-04 19:45 | 10.09(U) | 94.2(U) | 33.07(U) | 61.12(U) | 2.22(U) | 83.12(U)
2019-09-04 20:00 | 10.34(U) | 78.85(U) | 26.39(U) | 52.45(U) | 2.13(U) | 90.74(U)
2019-09-04 20:15 | 8.5(U) | 92.05(U) | 32.91(U) | 59.14(U) | 2.43(U) | 90.74(U)
2019-09-04 20:30 | 10.72(U) | 102.35(U) | 36.24(U) | 66.11(U) | 2.6(U) | 90.74(U)
2019-09-04 20:45 | 11.82(U) | 84.93(U) | 28.58(U) | 56.35(U) | 2.15(U) | 90.17(U)
2019-09-04 21:00 | 11.64(U) | 89.79(U) | 30.7(U) | 59.09(U) | 2.31(U) | 89.87(U)
2019-09-04 21:15 | 7.61(U) | 75.64(U) | 26.51(U) | 49.13(U) | 2.53(U) | 89.87(U)
2019-09-04 21:30 | 9.39(U) | 65.85(U) | 21.56(U) | 44.28(U) | 1.77(U) | 89.87(U)
2019-09-04 21:45 | 9.37(U) | 97.89(U) | 34.3(U) | 63.6(U) | 2.6(U) | 95.71(U)
2019-09-04 22:00 | 10.65(U) | 86.92(U) | 29.29(U) | 57.64(U) | 2.21(U) | 98.78(U)
2019-09-04 22:15 | 9.52(U) | 84.91(U) | 29.44(U) | 55.46(U) | 1.88(U) | 98.78(U)
2019-09-04 22:30 | 11.49(U) | 61.19(U) | 18.09(U) | 43.1(U) | 1.5(U) | 98.78(U)
2019-09-04 22:45 | 12.06(U) | 65.38(U) | 20.29(U) | 45.08(U) | 1.59(U) | 86(U)
2019-09-04 23:00 | 11.98(U) | 87.66(U) | 29.7(U) | 57.96(U) | 1.72(U) | 79.29(U)
2019-09-04 23:15 | 7.14(U) | 63.87(U) | 19.88(U) | 43.98(U) | 1.34(U) | 79.29(U)
2019-09-04 23:30 | 9.62(U) | 84.33(U) | 28.29(U) | 56.04(U) | 1.68(U) | 79.29(U)
2019-09-04 23:45 | 9.68(U) | 50.66(U) | 14.24(U) | 36.42(U) | 1.16(U) | 79.03(U)
2019-09-04 24:00 | 9.82(U) | 67.07(U) | 21.89(U) | 45.18(U) | 1.28(U) | 78.89(U)
2019-09-05 00:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 00:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 00:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 01:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 01:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 01:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 01:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 02:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 02:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 02:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 02:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 03:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 03:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 03:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 03:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 04:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 04:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 04:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 04:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 05:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 05:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 05:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 05:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 06:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 06:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 06:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 06:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 07:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 07:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 07:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 07:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 08:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 08:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 08:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 08:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 09:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 09:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 09:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 09:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 10:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 10:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 10:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 10:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 11:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 11:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 11:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 11:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 12:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 12:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 12:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 12:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 13:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 13:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 13:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 13:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 14:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 14:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 14:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 14:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 15:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 15:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 15:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 15:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 16:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 16:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 16:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-05 16:45 | 8.63(U) | 24.26(U) | 5.56(U) | 18.7(U) | 1.1(U) | 119.88(U)
2019-09-05 17:00 | 8.72(U) | 20.56(U) | 3.77(U) | 16.79(U) | 1.04(U) | 115.47(U)
2019-09-05 17:15 | 6.94(U) | 20.52(U) | 4.52(U) | 16(U) | 1.23(U) | 115.47(U)
2019-09-05 17:30 | 9.8(U) | 23.09(U) | 4.5(U) | 18.59(U) | 1.2(U) | 115.47(U)
2019-09-05 17:45 | 5.49(U) | 37.2(U) | 10.59(U) | 26.61(U) | 1.55(U) | 53.2(U)
2019-09-05 18:00 | 7.9(U) | 85.31(U) | 30.39(U) | 54.92(U) | 2.21(U) | 38.19(U)
2019-09-05 18:15 | 8.32(U) | 77.98(U) | 26.02(U) | 51.96(U) | 2.23(U) | 30.3(U)
2019-09-05 18:30 | 6.93(U) | 45.04(U) | 10.95(U) | 34.09(U) | 1.58(U) | 30.3(U)
2019-09-05 18:45 | 10.03(U) | 59.53(U) | 14.09(U) | 45.44(U) | 1.63(U) | 30.3(U)
2019-09-05 19:00 | 10.41(U) | 69.95(U) | 17.02(U) | 52.93(U) | 1.64(U) | 37.37(U)
2019-09-05 19:15 | 10.19(U) | 60.92(U) | 12.58(U) | 48.34(U) | 1.55(U) | 41.09(U)
2019-09-05 19:30 | 7.16(U) | 59.1(U) | 15(U) | 44.1(U) | 1.65(U) | 41.09(U)
2019-09-05 19:45 | 9.16(U) | 66.01(U) | 19.25(U) | 46.76(U) | 1.79(U) | 41.09(U)
2019-09-05 20:00 | 9.51(U) | 39.91(U) | 8.68(U) | 31.23(U) | 1.56(U) | 48.08(U)
2019-09-05 20:15 | 9.29(U) | 27.81(U) | 5.04(U) | 22.77(U) | 1.66(U) | 51.76(U)
2019-09-05 20:30 | 5.91(U) | 27.71(U) | 5.45(U) | 22.26(U) | 1.44(U) | 51.76(U)
2019-09-05 20:45 | 8.63(U) | 40.18(U) | 9.34(U) | 30.83(U) | 1.47(U) | 51.76(U)
2019-09-05 21:00 | 8.5(U) | 34.07(U) | 7.58(U) | 26.49(U) | 1.38(U) | 53.25(U)
2019-09-05 21:15 | 8.14(U) | 39.99(U) | 9.94(U) | 30.05(U) | 1.48(U) | 54.04(U)
2019-09-05 21:30 | 7.4(U) | 51.25(U) | 15.99(U) | 35.26(U) | 1.67(U) | 54.04(U)
2019-09-05 21:45 | 8.93(U) | 50.6(U) | 14.54(U) | 36.06(U) | 1.56(U) | 54.04(U)
2019-09-05 22:00 | 8.55(U) | 36.62(U) | 8.87(U) | 27.74(U) | 1.31(U) | 60.22(U)
2019-09-05 22:15 | 7.99(U) | 35.15(U) | 8.54(U) | 26.61(U) | 1.11(U) | 63.47(U)
2019-09-05 22:30 | 7.15(U) | 36.71(U) | 9.51(U) | 27.2(U) | 1.54(U) | 63.47(U)
2019-09-05 22:45 | 9.04(U) | 29.93(U) | 6.02(U) | 23.91(U) | 1.53(U) | 63.47(U)
2019-09-05 23:00 | 8.63(U) | 26.5(U) | 4.76(U) | 21.75(U) | 1.4(U) | 55.39(U)
2019-09-05 23:15 | 8.65(U) | 27.41(U) | 5.53(U) | 21.88(U) | 1.28(U) | 51.14(U)
2019-09-05 23:30 | 6.26(U) | 26.31(U) | 5.49(U) | 20.82(U) | 1.45(U) | 51.14(U)
2019-09-05 23:45 | 9.12(U) | 23.9(U) | 4.92(U) | 18.98(U) | 1.72(U) | 51.14(U)
2019-09-05 24:00 | 9.17(U) | 16.98(U) | 2.59(U) | 14.39(U) | 1.44(U) | 42.32(U)
2019-09-07 00:15 | 8.53(U) | 50.09(U) | 16.21(U) | 33.88(U) | 1.13(U) | 67.5(U)
2019-09-07 00:30 | 11.37(U) | 32.91(U) | 8.13(U) | 24.78(U) | 1.26(U) | 67.5(U)
2019-09-07 00:45 | 10.66(U) | 32.63(U) | 8.55(U) | 24.08(U) | 1.23(U) | 64.77(U)
2019-09-07 01:00 | 10.05(U) | 26.52(U) | 5.66(U) | 20.86(U) | 1.23(U) | 63.26(U)
2019-09-07 01:15 | 8.19(U) | 30.71(U) | 8.15(U) | 22.56(U) | 1.53(U) | 63.26(U)
2019-09-07 01:30 | 10.94(U) | 22.8(U) | 4.6(U) | 18.2(U) | 1.42(U) | 63.26(U)
2019-09-07 01:45 | 10.51(U) | 16.73(U) | 2.36(U) | 14.38(U) | 1.45(U) | 56.14(U)
2019-09-07 02:00 | 10.86(U) | 18.68(U) | 3.22(U) | 15.46(U) | 1.41(U) | 52.22(U)
2019-09-07 02:15 | 9.67(U) | 16.4(U) | 2.91(U) | 13.52(U) | 1.26(U) | 52.22(U)
2019-09-07 02:30 | 11.94(U) | 15(U) | 2.22(U) | 12.82(U) | 1.18(U) | 52.22(U)
2019-09-07 02:45 | 11.12(U) | 13.86(U) | 1.74(U) | 12.13(U) | 1.2(U) | 40.09(U)
2019-09-07 03:00 | 11.26(U) | 15.91(U) | 2.68(U) | 13.38(U) | 1.18(U) | 33.4(U)
2019-09-07 03:15 | 8.5(U) | 27.98(U) | 7.31(U) | 20.66(U) | 1.3(U) | 33.4(U)
2019-09-07 03:30 | 11.02(U) | 44.99(U) | 13.51(U) | 31.48(U) | 1.33(U) | 33.4(U)
2019-09-07 03:45 | 11.55(U) | 42.43(U) | 12.08(U) | 30.35(U) | 1.54(U) | 31.92(U)
2019-09-07 04:00 | 10.52(U) | 29.42(U) | 6.97(U) | 22.46(U) | 1.4(U) | 31.1(U)
2019-09-07 04:15 | 7.37(U) | 26.3(U) | 5.48(U) | 20.83(U) | 1.27(U) | 31.1(U)
2019-09-07 04:30 | 10.96(U) | 24.43(U) | 4.62(U) | 19.81(U) | 1.5(U) | 31.1(U)
2019-09-07 04:45 | 11.6(U) | 34.57(U) | 8.66(U) | 25.91(U) | 1.36(U) | 39.4(U)
2019-09-07 05:00 | 11.77(U) | 44.01(U) | 12.08(U) | 31.93(U) | 1.6(U) | 43.98(U)
2019-09-07 05:15 | 8.24(U) | 53.4(U) | 16.47(U) | 36.93(U) | 1.8(U) | 43.98(U)
2019-09-07 05:30 | 11.35(U) | 84.61(U) | 26.92(U) | 57.69(U) | 2.17(U) | 43.98(U)
2019-09-07 05:45 | 11.7(U) | 97.3(U) | 31.78(U) | 65.52(U) | 2.22(U) | 48.91(U)
2019-09-07 06:00 | 12.9(U) | 143.72(U) | 47.79(U) | 95.93(U) | 2.35(U) | 51.63(U)
2019-09-07 06:15 | 9.88(U) | 135.67(U) | 46.72(U) | 88.95(U) | 2.34(U) | 51.63(U)
2019-09-07 06:30 | 11.51(U) | 125.28(U) | 42.14(U) | 83.14(U) | 2.32(U) | 51.63(U)
2019-09-07 06:45 | 12.06(U) | 109.37(U) | 36.27(U) | 73.09(U) | 1.89(U) | 65.6(U)
2019-09-07 07:00 | 13.01(U) | 109.51(U) | 36.43(U) | 73.08(U) | 2.14(U) | 73.31(U)
2019-09-07 07:15 | 10.71(U) | 132.42(U) | 46.7(U) | 85.71(U) | 2.57(U) | 73.31(U)
2019-09-07 07:30 | 12.67(U) | 137.65(U) | 47.9(U) | 89.75(U) | 2.4(U) | 73.31(U)
2019-09-07 07:45 | 13.03(U) | 145.72(U) | 51.11(U) | 94.6(U) | 2.74(U) | 96.46(U)
2019-09-07 08:00 | 13.43(U) | 100.82(U) | 32.59(U) | 68.23(U) | 2.42(U) | 109.23(U)
2019-09-07 08:15 | 9.69(U) | 103.26(U) | 33.75(U) | 69.51(U) | 2.83(U) | 109.23(U)
2019-09-07 08:30 | 12.2(U) | 100.38(U) | 31.94(U) | 68.43(U) | 2.36(U) | 109.23(U)
2019-09-07 08:45 | 13.07(U) | 108.8(U) | 34.33(U) | 74.47(U) | 2.33(U) | 128.76(U)
2019-09-07 09:00 | 12.94(U) | 80.71(U) | 23.19(U) | 57.52(U) | 1.93(U) | 139.54(U)
2019-09-07 09:15 | 8.35(U) | 75.06(U) | 20.81(U) | 54.24(U) | 1.93(U) | 139.54(U)
2019-09-07 09:30 | 8.24(U) | 46.18(U) | 10.52(U) | 35.66(U) | 1.15(U) | 139.54(U)
2019-09-07 09:45 | 1.81(U) | 53.18(U) | 16.12(U) | 37.06(U) | 1.43(U) | 125.86(U)
2019-09-07 10:00 | 1.25(U) | 60.21(U) | 20.22(U) | 39.98(U) | 2.22(U) | 118.32(U)
2019-09-07 10:15 | 6.35(U) | 58.92(U) | 20.39(U) | 38.53(U) | 1.35(U) | 118.32(U)
2019-09-07 10:30 | 9.16(U) | 41.24(U) | 12.28(U) | 28.96(U) | 1.52(U) | 118.32(U)
2019-09-07 10:45 | 9.62(U) | 41.82(U) | 10.64(U) | 31.18(U) | 1.09(U) | 113.03(U)
2019-09-07 11:00 | 9.11(U) | 77.31(U) | 22.36(U) | 54.95(U) | 2.05(U) | 110.11(U)
2019-09-07 11:15 | 7.94(U) | 67.85(U) | 21.13(U) | 46.71(U) | 1.81(U) | 110.11(U)
2019-09-07 11:30 | 9.24(U) | 47.48(U) | 12.47(U) | 35.01(U) | 1.04(U) | 110.11(U)
2019-09-07 11:45 | 9.28(U) | 53.15(U) | 12.1(U) | 41.05(U) | 0.89(U) | 122.67(U)
2019-09-07 12:00 | 8.48(U) | 44.37(U) | 9.86(U) | 34.51(U) | 1(U) | 129.6(U)
2019-09-07 12:15 | 7.4(U) | 38.18(U) | 7.56(U) | 30.62(U) | 1.5(U) | 129.6(U)
2019-09-07 12:30 | 10.41(U) | 33.4(U) | 6.24(U) | 27.16(U) | 1.48(U) | 129.6(U)
2019-09-07 12:45 | 11.89(U) | 41.44(U) | 9.27(U) | 32.16(U) | 1.52(U) | 137.28(U)
2019-09-07 13:00 | 12.22(U) | 37.69(U) | 9.72(U) | 27.96(U) | 1.84(U) | 141.73(U)
2019-09-07 13:15 | 5.92(U) | 41.38(U) | 11.14(U) | 30.24(U) | 2.39(U) | 141.73(U)
2019-09-07 13:30 | 10.05(U) | 37.71(U) | 10.24(U) | 27.46(U) | 1.97(U) | 141.73(U)
2019-09-07 13:45 | 10.26(U) | 41.64(U) | 10.92(U) | 30.71(U) | 2.02(U) | 132.33(U)
2019-09-07 14:00 | 9.72(U) | 31.04(U) | 7.46(U) | 23.58(U) | 1.91(U) | 126.89(U)
2019-09-07 14:15 | 5.96(U) | 32.66(U) | 8.9(U) | 23.76(U) | 1.42(U) | 126.89(U)
2019-09-07 14:30 | 7.91(U) | 60.06(U) | 19.46(U) | 40.6(U) | 2.12(U) | 126.89(U)
2019-09-07 14:45 | 9.35(U) | 59.6(U) | 18.8(U) | 40.8(U) | 2.14(U) | 130.29(U)
2019-09-07 15:00 | 9.24(U) | 52.54(U) | 15.48(U) | 37.06(U) | 1.8(U) | 132.26(U)
2019-09-07 15:15 | 6.91(U) | 24.07(U) | 5.37(U) | 18.7(U) | 1.47(U) | 132.26(U)
2019-09-07 15:30 | 8.35(U) | 27.68(U) | 7.04(U) | 20.64(U) | 1.4(U) | 132.26(U)
2019-09-07 15:45 | 8.18(U) | 43.93(U) | 12.82(U) | 31.12(U) | 1.62(U) | 140.33(U)
2019-09-07 16:00 | 8.56(U) | 67.08(U) | 20.88(U) | 46.2(U) | 1.96(U) | 145(U)
2019-09-07 16:15 | 8.73(U) | 20.86(U) | 3.79(U) | 17.07(U) | 1.48(U) | 145(U)
2019-09-07 16:30 | 11.28(U) | 69.66(U) | 22.62(U) | 47.04(U) | 2.07(U) | 145(U)
2019-09-07 16:45 | 11.3(U) | 32.01(U) | 7.3(U) | 24.71(U) | 1.31(U) | 132.73(U)
2019-09-07 17:00 | 10.9(U) | 55.08(U) | 16.63(U) | 38.46(U) | 1.76(U) | 125.63(U)
2019-09-07 17:15 | 8.62(U) | 61.26(U) | 19.8(U) | 41.46(U) | 1.64(U) | 125.63(U)
2019-09-07 17:30 | 10.69(U) | 39.93(U) | 10.65(U) | 29.29(U) | 1.6(U) | 125.63(U)
2019-09-07 17:45 | 10.78(U) | 80.19(U) | 27.25(U) | 52.95(U) | 2.14(U) | 121.59(U)
2019-09-07 18:00 | 11.74(U) | 92.76(U) | 31.44(U) | 61.32(U) | 2.44(U) | 119.26(U)
2019-09-07 18:15 | 8.66(U) | 72.6(U) | 24.02(U) | 48.57(U) | 2.79(U) | 119.26(U)
2019-09-07 18:30 | 11.18(U) | 116.46(U) | 42.02(U) | 74.44(U) | 3.07(U) | 119.26(U)
2019-09-07 18:45 | 11.77(U) | 78.2(U) | 25.76(U) | 52.44(U) | 2.33(U) | 150.09(U)
2019-09-07 19:00 | 11.27(U) | 60.05(U) | 18.6(U) | 41.45(U) | 2.02(U) | 167.94(U)
2019-09-07 19:15 | 8.83(U) | 74.96(U) | 24.83(U) | 50.14(U) | 2.16(U) | 167.94(U)
2019-09-07 19:30 | 9.95(U) | 57.05(U) | 16.78(U) | 40.26(U) | 1.32(U) | 167.94(U)
2019-09-07 19:45 | 10.12(U) | 51.57(U) | 14.44(U) | 37.13(U) | 1.09(U) | 153.51(U)
2019-09-07 20:00 | 10.07(U) | 63.1(U) | 19.59(U) | 43.52(U) | 1.27(U) | 145.16(U)
2019-09-07 20:15 | 6.69(U) | 54.58(U) | 16.54(U) | 38.04(U) | 1.57(U) | 145.16(U)
2019-09-07 20:30 | 9.62(U) | 47.38(U) | 12.86(U) | 34.51(U) | 1.42(U) | 145.16(U)
2019-09-07 20:45 | 9.48(U) | 43.18(U) | 11.13(U) | 32.04(U) | 1.27(U) | 143.68(U)
2019-09-07 21:00 | 9.22(U) | 33.36(U) | 8.08(U) | 25.27(U) | 1.21(U) | 142.83(U)
2019-09-07 21:15 | 5.85(U) | 35.13(U) | 9.31(U) | 25.81(U) | 1.32(U) | 142.83(U)
2019-09-07 21:30 | 8.48(U) | 42.7(U) | 11.45(U) | 31.24(U) | 1.44(U) | 142.83(U)
2019-09-07 21:45 | 9.06(U) | 64.06(U) | 21.07(U) | 42.99(U) | 1.81(U) | 114.52(U)
2019-09-07 22:00 | 9.06(U) | 70.29(U) | 24.44(U) | 45.85(U) | 1.66(U) | 98.13(U)
2019-09-07 22:15 | 5.74(U) | 56.41(U) | 18.83(U) | 37.58(U) | 1.77(U) | 98.13(U)
2019-09-07 22:30 | 9.01(U) | 74.31(U) | 25.58(U) | 48.74(U) | 1.64(U) | 98.13(U)
2019-09-07 22:45 | 9.42(U) | 73.1(U) | 25.06(U) | 48.03(U) | 1.47(U) | 98.01(U)
2019-09-07 23:00 | 9.2(U) | 70.93(U) | 24.1(U) | 46.83(U) | 1.28(U) | 97.94(U)
2019-09-07 23:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-07 23:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-07 23:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-07 24:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-16 00:15 | 5.54(U) | 63.3(U) | 14.98(U) | 48.32(U) | 1.09(U) | 102.25(U)
2019-09-16 00:30 | 7.24(U) | 60.74(U) | 14.47(U) | 46.27(U) | 1.15(U) | 102.25(U)
2019-09-16 00:45 | 7.19(U) | 57.03(U) | 13.53(U) | 43.5(U) | 0.9(U) | 71.58(U)
2019-09-16 01:00 | 7.09(U) | 62.39(U) | 15.23(U) | 47.16(U) | 0.96(U) | 55.46(U)
2019-09-16 01:15 | 5.51(U) | 53.84(U) | 12.88(U) | 40.96(U) | 0.93(U) | 55.46(U)
2019-09-16 01:30 | 6.96(U) | 48.56(U) | 11.41(U) | 37.15(U) | 0.97(U) | 55.46(U)
2019-09-16 01:45 | 6.95(U) | 45.39(U) | 10.55(U) | 34.84(U) | 0.89(U) | 58.5(U)
2019-09-16 02:00 | 6.84(U) | 42.35(U) | 9.84(U) | 32.5(U) | 0.87(U) | 60.1(U)
2019-09-16 02:15 | 4.94(U) | 38.1(U) | 8.69(U) | 29.41(U) | 1.09(U) | 60.1(U)
2019-09-16 02:30 | 7.17(U) | 36.56(U) | 8.31(U) | 28.24(U) | 0.88(U) | 60.1(U)
2019-09-16 02:45 | 6.98(U) | 35.61(U) | 8.06(U) | 27.55(U) | 0.97(U) | 58.3(U)
2019-09-16 03:00 | 7.58(U) | 33.97(U) | 7.64(U) | 26.34(U) | 0.92(U) | 57.35(U)
2019-09-16 03:15 | 5.76(U) | 31.76(U) | 7.04(U) | 24.72(U) | 1.3(U) | 57.35(U)
2019-09-16 03:30 | 7.78(U) | 31.42(U) | 6.97(U) | 24.45(U) | 1.19(U) | 57.35(U)
2019-09-16 03:45 | 7.38(U) | 31.29(U) | 6.9(U) | 24.38(U) | 1.08(U) | 45.68(U)
2019-09-16 04:00 | 7.58(U) | 30.43(U) | 6.64(U) | 23.79(U) | 1.17(U) | 39.55(U)
2019-09-16 04:15 | 4.54(U) | 28.99(U) | 6.18(U) | 22.82(U) | 1.5(U) | 39.55(U)
2019-09-16 04:30 | 7.35(U) | 27.98(U) | 5.98(U) | 22(U) | 1.34(U) | 39.55(U)
2019-09-16 04:45 | 7.85(U) | 38.94(U) | 9.14(U) | 29.8(U) | 1.31(U) | 36.35(U)
2019-09-16 05:00 | 8.12(U) | 42.47(U) | 9.9(U) | 32.57(U) | 1.23(U) | 34.67(U)
2019-09-16 05:15 | 5.2(U) | 41.95(U) | 9.52(U) | 32.42(U) | 1.39(U) | 34.67(U)
2019-09-16 05:30 | 8.39(U) | 42.57(U) | 9.75(U) | 32.82(U) | 1.17(U) | 34.67(U)
2019-09-16 05:45 | 8.42(U) | 57.58(U) | 13.88(U) | 43.7(U) | 1.23(U) | 40.9(U)
2019-09-16 06:00 | 8.15(U) | 52.07(U) | 12.13(U) | 39.94(U) | 1.23(U) | 44.17(U)
2019-09-16 06:15 | 5.66(U) | 60.82(U) | 14.54(U) | 46.28(U) | 1.39(U) | 44.17(U)
2019-09-16 06:30 | 8.07(U) | 49.72(U) | 11.59(U) | 38.13(U) | 1.53(U) | 44.17(U)
2019-09-16 06:45 | 7.7(U) | 47.67(U) | 11.1(U) | 36.57(U) | 1.44(U) | 57.22(U)
2019-09-16 07:00 | 8.12(U) | 51.83(U) | 12.34(U) | 39.48(U) | 1.4(U) | 64.08(U)
2019-09-16 07:15 | 6.11(U) | 61.9(U) | 14.88(U) | 47.02(U) | 1.43(U) | 64.08(U)
2019-09-16 07:30 | 8.17(U) | 55.8(U) | 13.31(U) | 42.48(U) | 1.48(U) | 64.08(U)
2019-09-16 07:45 | 8.85(U) | 53.33(U) | 12.65(U) | 40.67(U) | 1.44(U) | 47.97(U)
2019-09-16 08:00 | 8.82(U) | 51.85(U) | 12.28(U) | 39.57(U) | 1.34(U) | 39.51(U)
2019-09-16 08:15 | 7.4(U) | 49.16(U) | 11.38(U) | 37.78(U) | 1.71(U) | 39.51(U)
2019-09-16 08:30 | 8.98(U) | 49.88(U) | 11.66(U) | 38.22(U) | 1.45(U) | 39.51(U)
2019-09-16 08:45 | 9.18(U) | 49.77(U) | 11.65(U) | 38.11(U) | 1.5(U) | 50.92(U)
2019-09-16 09:00 | 9.01(U) | 49.64(U) | 11.64(U) | 38(U) | 1.59(U) | 56.92(U)
2019-09-16 09:15 | 6.26(U) | 47.75(U) | 10.92(U) | 36.83(U) | 1.12(U) | 56.92(U)
2019-09-16 09:30 | 8.8(U) | 47.22(U) | 10.83(U) | 36.39(U) | 1.21(U) | 56.92(U)
2019-09-16 09:45 | 9.05(U) | 47.68(U) | 10.99(U) | 36.69(U) | 1.15(U) | 62.58(U)
2019-09-16 10:00 | 9.47(U) | 47.63(U) | 10.96(U) | 36.67(U) | 1.16(U) | 65.56(U)
2019-09-16 10:15 | 6.8(U) | 44.04(U) | 9.99(U) | 34.05(U) | 1.31(U) | 65.56(U)
2019-09-16 10:30 | 8.82(U) | 39.46(U) | 8.83(U) | 30.63(U) | 1.24(U) | 65.56(U)
2019-09-16 10:45 | 8.62(U) | 35.79(U) | 7.83(U) | 27.96(U) | 1.12(U) | 67.57(U)
2019-09-16 11:00 | 7.99(U) | 30.94(U) | 6.51(U) | 24.43(U) | 0.95(U) | 68.62(U)
2019-09-16 11:15 | 5.85(U) | 25.78(U) | 5.09(U) | 20.69(U) | 1.36(U) | 68.62(U)
2019-09-16 11:30 | 7.08(U) | 23.3(U) | 4.42(U) | 18.88(U) | 1.18(U) | 68.62(U)
2019-09-16 11:45 | 6.42(U) | 23.42(U) | 4.45(U) | 18.96(U) | 1.08(U) | 53.67(U)
2019-09-16 12:00 | 6.91(U) | 28.28(U) | 5.69(U) | 22.59(U) | 1.24(U) | 45.81(U)
2019-09-16 12:15 | 5.59(U) | 29.43(U) | 6.13(U) | 23.31(U) | 1.26(U) | 45.81(U)
2019-09-16 12:30 | 7.93(U) | 28.33(U) | 5.75(U) | 22.58(U) | 1.29(U) | 45.81(U)
2019-09-16 12:45 | 7.7(U) | 30.73(U) | 6.22(U) | 24.51(U) | 1.35(U) | 33.03(U)
2019-09-16 13:00 | 7.76(U) | 34.17(U) | 7.04(U) | 27.13(U) | 1.41(U) | 25.64(U)
2019-09-16 13:15 | 7.51(U) | 31.84(U) | 6.51(U) | 25.33(U) | 1.47(U) | 25.64(U)
2019-09-16 13:30 | 8.24(U) | 45.07(U) | 10.05(U) | 35.03(U) | 1.19(U) | 25.64(U)
2019-09-16 13:45 | 8.33(U) | 52.11(U) | 11.77(U) | 40.34(U) | 1.2(U) | 51.07(U)
2019-09-16 14:00 | 8.57(U) | 41.12(U) | 8.71(U) | 32.41(U) | 1.24(U) | 65.79(U)
2019-09-16 14:15 | 6.12(U) | 36.3(U) | 7.43(U) | 28.87(U) | 1.42(U) | 65.79(U)
2019-09-16 14:30 | 8.23(U) | 31.11(U) | 6.16(U) | 24.95(U) | 1.28(U) | 65.79(U)
2019-09-16 14:45 | 8.62(U) | 29.26(U) | 5.79(U) | 23.47(U) | 1.36(U) | 62.31(U)
2019-09-16 15:00 | 8.29(U) | 28.02(U) | 5.5(U) | 22.52(U) | 1.32(U) | 60.29(U)
2019-09-16 15:15 | 5.33(U) | 31.4(U) | 6.34(U) | 25.06(U) | 1.41(U) | 60.29(U)
2019-09-16 15:30 | 7.53(U) | 28.02(U) | 5.53(U) | 22.49(U) | 1.42(U) | 60.29(U)
2019-09-16 15:45 | 7.44(U) | 26.99(U) | 5.2(U) | 21.79(U) | 1.32(U) | 92.09(U)
2019-09-16 16:00 | 7.28(U) | 26.68(U) | 5.03(U) | 21.65(U) | 1.41(U) | 110.5(U)
2019-09-16 16:15 | 5.26(U) | 43.76(U) | 9.86(U) | 33.9(U) | 1.77(U) | 110.5(U)
2019-09-16 16:30 | 7.78(U) | 81.21(U) | 19.82(U) | 61.39(U) | 1.88(U) | 110.5(U)
2019-09-16 16:45 | 8.63(U) | 83.89(U) | 20.27(U) | 63.62(U) | 1.68(U) | 108.71(U)
2019-09-16 17:00 | 8.05(U) | 83(U) | 19.86(U) | 63.14(U) | 2.3(U) | 107.67(U)
2019-09-16 17:15 | 6.77(U) | 75.1(U) | 17.61(U) | 57.49(U) | 1.03(U) | 107.67(U)
2019-09-16 17:30 | 8.51(U) | 65.05(U) | 15.21(U) | 49.84(U) | 0.93(U) | 107.67(U)
2019-09-16 17:45 | 8.88(U) | 58.79(U) | 13.67(U) | 45.12(U) | 0.91(U) | 115.83(U)
2019-09-16 18:00 | 9.41(U) | 57.63(U) | 13.7(U) | 43.94(U) | 1.69(U) | 120.56(U)
2019-09-16 18:15 | 7.25(U) | 63.22(U) | 15.68(U) | 47.54(U) | 1.75(U) | 120.56(U)
2019-09-16 18:30 | 8.37(U) | 74.91(U) | 18.51(U) | 56.4(U) | 2.35(U) | 120.56(U)
2019-09-16 18:45 | 9.72(U) | 91.19(U) | 22.83(U) | 68.36(U) | 2.31(U) | 113.82(U)
2019-09-16 19:00 | 10.45(U) | 95.62(U) | 24.04(U) | 71.58(U) | 2.17(U) | 109.92(U)
2019-09-16 19:15 | 7.8(U) | 97.45(U) | 24.67(U) | 72.78(U) | 1.99(U) | 109.92(U)
2019-09-16 19:30 | 7.64(U) | 97.3(U) | 24.55(U) | 72.74(U) | 1.89(U) | 109.92(U)
2019-09-16 19:45 | 8.45(U) | 94.97(U) | 23.85(U) | 71.12(U) | 1.62(U) | 114.33(U)
2019-09-16 20:00 | 8.5(U) | 93.33(U) | 23.49(U) | 69.84(U) | 1.35(U) | 116.88(U)
2019-09-16 20:15 | 6.05(U) | 99.97(U) | 25.28(U) | 74.69(U) | 1.52(U) | 116.88(U)
2019-09-16 20:30 | 9.02(U) | 98.4(U) | 24.95(U) | 73.45(U) | 1.94(U) | 116.88(U)
2019-09-16 20:45 | 10.31(U) | 98.47(U) | 25(U) | 73.47(U) | 1.41(U) | 97.9(U)
2019-09-16 21:00 | 9.25(U) | 96.3(U) | 24.45(U) | 71.84(U) | 1.52(U) | 86.92(U)
2019-09-16 21:15 | 6.02(U) | 95.91(U) | 24.27(U) | 71.63(U) | 1.37(U) | 86.92(U)
2019-09-16 21:30 | 7.49(U) | 95.82(U) | 24.26(U) | 71.56(U) | 1.27(U) | 86.92(U)
2019-09-16 21:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-16 22:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-16 22:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-16 22:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-16 22:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-16 23:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-16 23:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-16 23:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-16 23:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-16 24:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 00:15 | 4.92(U) | 87.04(U) | 17.3(U) | 69.74(U) | 1.35(U) | 48.28(U)
2019-09-24 00:30 | 7.2(U) | 84.24(U) | 16.46(U) | 67.78(U) | 1.28(U) | 48.28(U)
2019-09-24 00:45 | 6.56(U) | 81.89(U) | 16.1(U) | 65.79(U) | 1.09(U) | 34.55(U)
2019-09-24 01:00 | 5.63(U) | 78(U) | 15.28(U) | 62.72(U) | 0.97(U) | 27.33(U)
2019-09-24 01:15 | 5.51(U) | 78.09(U) | 15.06(U) | 63.04(U) | 1.25(U) | 27.33(U)
2019-09-24 01:30 | 6.52(U) | 72.08(U) | 14.22(U) | 57.86(U) | 1.24(U) | 27.33(U)
2019-09-24 01:45 | 5.91(U) | 67.27(U) | 13.53(U) | 53.74(U) | 1.05(U) | 28.52(U)
2019-09-24 02:00 | 5.11(U) | 63.97(U) | 13(U) | 50.97(U) | 1.01(U) | 29.14(U)
2019-09-24 02:15 | 5.12(U) | 58.47(U) | 12.2(U) | 46.27(U) | 1.03(U) | 29.14(U)
2019-09-24 02:30 | 6.63(U) | 53.25(U) | 11.15(U) | 42.1(U) | 1.09(U) | 29.14(U)
2019-09-24 02:45 | 5.51(U) | 51.89(U) | 10.91(U) | 40.98(U) | 0.82(U) | 21.76(U)
2019-09-24 03:00 | 5.13(U) | 44.45(U) | 9.77(U) | 34.67(U) | 0.83(U) | 17.89(U)
2019-09-24 03:15 | 6.56(U) | 39.97(U) | 9.03(U) | 30.94(U) | 1.13(U) | 17.89(U)
2019-09-24 03:30 | 7.19(U) | 35.11(U) | 8.19(U) | 26.91(U) | 1.07(U) | 17.89(U)
2019-09-24 03:45 | 7.31(U) | 32.96(U) | 7.66(U) | 25.3(U) | 1(U) | 12.92(U)
2019-09-24 04:00 | 6.34(U) | 34.37(U) | 8.02(U) | 26.35(U) | 0.99(U) | 10.31(U)
2019-09-24 04:15 | 5.54(U) | 31.19(U) | 7.38(U) | 23.82(U) | 1.24(U) | 10.31(U)
2019-09-24 04:30 | 5.56(U) | 33.72(U) | 7.63(U) | 26.09(U) | 1.14(U) | 10.31(U)
2019-09-24 04:45 | 4.92(U) | 34.7(U) | 7.62(U) | 27.07(U) | 0.98(U) | 18.15(U)
2019-09-24 05:00 | 4.73(U) | 30.88(U) | 6.68(U) | 24.2(U) | 0.97(U) | 22.27(U)
2019-09-24 05:15 | 5.23(U) | 29.29(U) | 6.27(U) | 23.01(U) | 0.98(U) | 22.27(U)
2019-09-24 05:30 | 7.4(U) | 30.9(U) | 6.43(U) | 24.47(U) | 1.06(U) | 22.27(U)
2019-09-24 05:45 | 7.22(U) | 35.36(U) | 7.13(U) | 28.24(U) | 1.19(U) | 26.37(U)
2019-09-24 06:00 | 7.73(U) | 54.5(U) | 10.67(U) | 43.82(U) | 1.05(U) | 28.53(U)
2019-09-24 06:15 | 6.24(U) | 38.41(U) | 7.49(U) | 30.92(U) | 1.34(U) | 28.53(U)
2019-09-24 06:30 | 7(U) | 31.32(U) | 6.31(U) | 25.01(U) | 1.35(U) | 28.53(U)
2019-09-24 06:45 | 6.91(U) | 29.7(U) | 6.17(U) | 23.53(U) | 1.18(U) | 19.17(U)
2019-09-24 07:00 | 7.28(U) | 29.64(U) | 6.14(U) | 23.5(U) | 1.29(U) | 14.26(U)
2019-09-24 07:15 | 5.66(U) | 35.67(U) | 7.29(U) | 28.38(U) | 1.53(U) | 14.26(U)
2019-09-24 07:30 | 4.92(U) | 41.67(U) | 8.24(U) | 33.43(U) | 1.41(U) | 14.26(U)
2019-09-24 07:45 | 4.09(U) | 39(U) | 7.5(U) | 31.5(U) | 1.1(U) | 9.58(U)
2019-09-24 08:00 | 4(U) | 33.13(U) | 6.64(U) | 26.49(U) | 1.25(U) | 7.13(U)
2019-09-24 08:15 | 4.38(U) | 33.1(U) | 6.71(U) | 26.39(U) | 1.36(U) | 7.13(U)
2019-09-24 08:30 | 6.13(U) | 31.44(U) | 6.36(U) | 25.07(U) | 1.28(U) | 7.13(U)
2019-09-24 08:45 | 6.58(U) | 27.61(U) | 5.73(U) | 21.88(U) | 1.08(U) | 13.51(U)
2019-09-24 09:00 | 7.02(U) | 28.34(U) | 5.78(U) | 22.56(U) | 1.24(U) | 16.86(U)
2019-09-24 09:15 | 6.8(U) | 29.39(U) | 5.82(U) | 23.56(U) | 1.48(U) | 16.86(U)
2019-09-24 09:30 | 6.49(U) | 30.61(U) | 5.9(U) | 24.71(U) | 1.58(U) | 16.86(U)
2019-09-24 09:45 | 7.11(U) | 30.43(U) | 5.82(U) | 24.61(U) | 1.63(U) | 17.04(U)
2019-09-24 10:00 | 6.42(U) | 30.75(U) | 5.81(U) | 24.95(U) | 1.57(U) | 17.14(U)
2019-09-24 10:15 | 5.94(U) | 29.75(U) | 5.66(U) | 24.08(U) | 1.59(U) | 17.14(U)
2019-09-24 10:30 | 5.93(U) | 30.01(U) | 5.78(U) | 24.23(U) | 1.45(U) | 17.14(U)
2019-09-24 10:45 | 6.28(U) | 31.05(U) | 5.87(U) | 25.18(U) | 1.22(U) | 13.61(U)
2019-09-24 11:00 | 6.37(U) | 31.26(U) | 5.88(U) | 25.38(U) | 1.31(U) | 11.75(U)
2019-09-24 11:15 | 5.82(U) | 31.11(U) | 5.95(U) | 25.16(U) | 1.54(U) | 11.75(U)
2019-09-24 11:30 | 5.89(U) | 31.05(U) | 5.97(U) | 25.08(U) | 1.58(U) | 11.75(U)
2019-09-24 11:45 | 5.85(U) | 32.87(U) | 6.32(U) | 26.54(U) | 1.36(U) | 15.47(U)
2019-09-24 12:00 | 6.08(U) | 34.34(U) | 6.64(U) | 27.7(U) | 1.51(U) | 17.42(U)
2019-09-24 12:15 | 5.95(U) | 32.8(U) | 6.49(U) | 26.31(U) | 1.32(U) | 17.42(U)
2019-09-24 12:30 | 6.44(U) | 33.41(U) | 6.57(U) | 26.84(U) | 1.19(U) | 17.42(U)
2019-09-24 12:45 | 6.75(U) | 33(U) | 6.5(U) | 26.5(U) | 1.17(U) | 29.38(U)
2019-09-24 13:00 | 6.22(U) | 33.53(U) | 6.37(U) | 27.16(U) | 1.25(U) | 35.66(U)
2019-09-24 13:15 | 6.4(U) | 34.41(U) | 6.54(U) | 27.87(U) | 1.46(U) | 35.66(U)
2019-09-24 13:30 | 6.99(U) | 33.09(U) | 6.45(U) | 26.64(U) | 1.57(U) | 35.66(U)
2019-09-24 13:45 | 6.44(U) | 33.21(U) | 6.2(U) | 27.01(U) | 1.61(U) | 55.94(U)
2019-09-24 14:00 | 6.99(U) | 33.24(U) | 6.13(U) | 27.11(U) | 1.59(U) | 66.6(U)
2019-09-24 14:15 | 5.21(U) | 31.33(U) | 5.85(U) | 25.47(U) | 2.01(U) | 66.6(U)
2019-09-24 14:30 | 6.23(U) | 29.66(U) | 5.61(U) | 24.05(U) | 1.77(U) | 66.6(U)
2019-09-24 14:45 | 7.04(U) | 35.67(U) | 6.4(U) | 29.27(U) | 2.34(U) | 71.16(U)
2019-09-24 15:00 | 7.68(U) | 37.21(U) | 6.48(U) | 30.72(U) | 2.27(U) | 73.56(U)
2019-09-24 15:15 | 5.83(U) | 36.66(U) | 6.44(U) | 30.21(U) | 1.79(U) | 73.56(U)
2019-09-24 15:30 | 7.08(U) | 35.76(U) | 6.29(U) | 29.47(U) | 1.6(U) | 73.56(U)
2019-09-24 15:45 | 6.9(U) | 37.31(U) | 6.49(U) | 30.81(U) | 1.56(U) | 95.95(U)
2019-09-24 16:00 | 6.66(U) | 29.73(U) | 6.15(U) | 23.57(U) | 1.41(U) | 107.71(U)
2019-09-24 16:15 | 5.72(U) | 24.77(U) | 5.52(U) | 19.25(U) | 1.9(U) | 107.71(U)
2019-09-24 16:30 | 6.56(U) | 26.1(U) | 5.44(U) | 20.67(U) | 1.87(U) | 107.71(U)
2019-09-24 16:45 | 6.91(U) | 29.43(U) | 5.63(U) | 23.79(U) | 1.83(U) | 113.52(U)
2019-09-24 17:00 | 7.11(U) | 30.06(U) | 5.47(U) | 24.59(U) | 1.85(U) | 116.57(U)
2019-09-24 17:15 | 5.62(U) | 30.96(U) | 5.58(U) | 25.38(U) | 1.68(U) | 116.57(U)
2019-09-24 17:30 | 5.76(U) | 40.91(U) | 6.84(U) | 34.07(U) | 1.31(U) | 116.57(U)
2019-09-24 17:45 | 6.61(U) | 65.99(U) | 10.91(U) | 55.08(U) | 1.9(U) | 117.69(U)
2019-09-24 18:00 | 6.42(U) | 77.56(U) | 14.14(U) | 63.42(U) | 1.42(U) | 118.28(U)
2019-09-24 18:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 18:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 18:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 19:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 19:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 19:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 19:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 20:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 20:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 20:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 20:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 21:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 21:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 21:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 21:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 22:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 22:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 22:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 22:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 23:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 23:15 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 23:30 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 23:45 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)
2019-09-24 24:00 | N(N) | N(N) | N(N) | N(N) | N(N) | N(N)